## Slide 1: Metals HHC Rulemaking
Arsenic, Iron and Manganese human health criteria revisions
Arsenic reduction policy
Streamlined
  30 day comment period, 2 public hearings
Preferred timeline:
  Public comment September 2010
  EQC adoption December 2010

## Slide 2
Rulemaking Work Group
Background Pollutant Allowance
June 30, 2010
Debra Sturdevant

## Slide 3: DEQ Recommendation
Limited increase above background concentration allowed for HHC only:
  Allowed increase is % above background
    Not based on alternate FCR or risk
  Facility adds no mass
  Intake water from receiving water
  Based on mass balance calculation
  Dilution flows specified
    30Q5
    25% of 30Q5 for Columbia and Willamette Rivers

## Slide 4: DEQ response to comments – Modifications to DEQ proposal
Allow 3% increase rather than 1%
Use same dilution flows as RPA
  Harmonic mean for carcinogens
  30Q5 for non-carcinogens
For Willamette and Columbia use 25% of above flow
  Without this limitation, a portion of these rivers could be subject to much larger increase in concentration;
  Limit potential cumulative effects, these rivers have most of the large dischargers
  Conservative – for some of these pollutants, no ALC, unknown effects to aquatic life

## Slide 5: Draft Additional Background Pollutant Allowance Provision
For dischargers using multiple intake water sources (including groundwater)
  No increase in background concentration - Effluent concentration ≤ background concentration
  Facility does not add pollutant through process
  Options to limit addition of pollutant mass from groundwater:
    Allow only if pollutant is not detected in the GW intake water
    Allow only up to X% of intake water to be groundwater

## Slide 6: Points to consider
Mass v. concentration for persistent pollutants
Uncertainties
EPA approvability
  Lack of precedence
  More complicated and open probably more difficult to approve