## Slide 1
Rulemaking Work Group
Variance Discussion
May 20, 2010
Andrea Matzke

## Slide 2: Variance Discussion Outline
Overview of variance decision memo, including proposed language revisions
  Q’s and A’s following each item
Variance issue paper: were the work group issues correctly represented?
Identify path to wrap up discussion on variances in June

## Slide 3: Variance Decision Memo
Major written comments received; DEQ’s recommended approach.
Developed to confirm DEQ’s path forward
Notes: -DEQ recognizes that this memo doesn’t encompass every issue work group members have raised
- Variances won’t solve every issue, but they are a tool under CWA authorities

## Slide 4: Variance Decision Memo
Aquatic life eligibility
  DEQ Recommendation: Proposed variance regulations do not specifically exclude ALC or HHC—applicable to any WQ criteria. Will continue to allow the eligibility of ALC for variances.
Notes: -The proposed language sets up a framework to how variance requests are assessed and processed
-same requirements apply; rationale still must be provided and justified; there is a public process; EPA approval requirement
-ALC variance will trigger ESA consultation
ALC variances:
Menominee, Rice Lake, Menasha, Whitewater, etc (10 dischargers) WI: Hg variance for the Hg wildlife standard
MDV for MI: Hg wildlife standard
ID ALC for Cd, Pb, Zn—economic factor

## Slide 5: Variance Decision Memo
Variance Duration
  DEQ Recommendation: Proposing language to change the duration of a variance from 3 yrs. to the duration of the NPDES permitting cycle, as long as the discharger submits an application for a renewal at least 180 days prior to the permit expiration date.
Notes: -fosters efficiency in the admin process and satisfies public notification and hearing requirements for both variance and NPDES permit
[if application not submitted on time, it will expire at end of 5 yrs. (Dept. discretion)]
-reasons for being administratively extended: limited staff resources, aligning permits on a watershed basis, legal challenges, etc.
-annual status report of an approved PMP
-a variance could be terminated if conditions no longer warranted a variance (not specified in rule language)

## Slide 6: Variance Decision Memo
Variance Duration Proposed Language: Pg. 8 of I.P.
(3) Variance Duration.
(a) The duration of the variance period must be specified as part of each variance and shall not exceed the term of the NPDES permit. The variance shall remain in effect in the event that a NPDES permit is administratively extended, as long as the discharger submits to the Director an application for renewal of the NPDES permit and variance at least one hundred eighty days prior to the date of expiration of the NPDES permit. The permittee must be in compliance with the effluent limitation sufficient to meet the underlying water quality standard upon the expiration of the variance.
Notes: -similar to OH’s Hg MDV duration language

## Slide 7: Variance Decision Memo
Existing Use Protection
DEQ Recommendation: Existing uses must be protected. The discharger must demonstrate that a loss of an existing use would not result from the granting of the variance. DEQ concludes existing uses are protected if the load under a variance is the same or lower than the load resulting from the previous discharge.
Notes: -per 40 CFR 131.10(g) and (h)(1) “States may remove a designated use which is not an existing use , as defined in 131.3, or establish sub-categories of a use if the State can demonstrate that attaining the designated use is not feasible because:…”
-DEQ doesn’t see a situation where we would grant a variance where the discharge load is higher than the previous load.
-When applied to a variance, does the discharge under a variance result in a removal of an existing use for that waterbody?
-existing use: has the use been attained in the waterbody since 1975 and has the WQ supported it?
-POTW needs higher capacity?

## Slide 8: Variance Decision Memo
Existing Use Proposed Language: Pg. 7 of I.P.
(2) Conditions to Grant a Variance. Before the Commission or Department may grant a variance, the permittee must demonstrate that a loss of an existing use would not result from the granting of the variance and that attaining the water quality standard is not feasible for one of the following reasons:
Notes: -this revised language reflects language specific to variances, as opposed to what the federal regs in 131.10(g) say which is based on the UAA demonstration

## Slide 9: Variance Decision Memo
Applicability of NPS BMPs (per 131.10(h)(2))
DEQ Recommendation: The permittee must implement cost-effective and reasonable BMPs for nonpoint sources over which it has control. Could occur prior to, or as a condition of, granting a variance.
Notes: -131.10(h) States may not remove designated uses if:
(2) Such uses will be attained by implementing effluent limits required under sections 301(b) and 306 of the Act and by implementing cost- effective and reasonable best management practices for nonpoint source control.
-the variance would not remove a DU
-would be too burdensome and unreasonable to assess NPS sources that could be contributing to a WQBEL exceedence before a discharger could receive a variance.
-Smaller POTWs and NPS urban runoff w/o MS4 permits: could build reduction measures in a PMP

## Slide 10: Variance Decision Memo
NPS BMP Proposed Language: Pg. 7 of I.P.
(b) A water quality standard variance may not be granted if:
(A) The standard will be attained by implementing technology-based effluent limits required under sections 301(b) and 306 of the federal Clean Water Act, and by the discharger implementing cost-effective and reasonable best management practices for nonpoint source control;
Notes: -language from 131(h)(2) modified to variance context

## Slide 11: Variance Decision Memo
Variances for New Facilities
DEC Recommendation: Generally not allowed, but certain circumstances may warrant eligibility of a new or expanding source
Notes: -Assumption is that new facilities should be able to mitigate –shouldn’t be able to exacerbate an existing problem
-Some GLI states had similar exceptions
-At the last variance discussion, most of the group felt fairly strongly that there should be some exceptions. The following slide are some of DEQ’s recommendations.

## Slide 12: Variance Decision Memo
New Facilities Proposed Language: Pg. 7 of I.P.
(b) A water quality standard variance may not be granted if:
…(D) A source requesting a variance is a new facility, unless a proposed variance for a new facility:
Prevents or mitigates a threat to public health or welfare;
Provides a net environmental benefit; or
Remediates water contamination pursuant to the Comprehensive Environmental Response Compensation and Liability Act (CERCLA, 42 U.S.C. 9601 et seq. as amended through July 1, 2006), or the Resource Conservation and Recovery Act (RCRA, 42 U.S.C. 6901 et seq. as amended through July 1, 2006).
Notes: -onsite system replaced w/ centralized treatment
-clean up site: contaminated GW is being treated prior to discharge to a waterbody, but the GW also contains naturally occurring As.
e.g. AZ: GW contaminated w/ PCE and BTEX—discharge exceeded the boron criterion assoc. w/ an ag. DU.

## Slide 13: Variance Issue Paper
Were the views of the work group members correctly represented?
Are we missing important pieces that need to be developed in this paper?
Anything else that needs to be part of the IMD?
Notes: -provide corrections to Andrea or clarify rep views by June 3.

## Slide 14: Steps for June Meeting
Follow up items from today’s discussion
Are there any outstanding issues that still need to be resolved and discussed to wrap up our last variance discussion in June?