Determination of Substantial and Widespread Economic and Social Impacts for the Cities of Page, Mullan and Smelterville Wastewater Treatment Plants

The following is an excerpted summary of the process used to determine the Economic and Social Impacts for the Cities of Page, Mullan and Smelterville

The permittees have requested a variance based on a demonstration that the costs associated with a proposal to install controls to meet Idaho’s water quality criteria for specific metals would result in substantial and widespread adverse economic and social  impacts. EPA has evaluated these costs and related socioeconomic information based on EPA’s “Interim Economic Guidance for Water Quality Standards Workbook”  (EPA-823-B-95-002, March 1995).

In order to evaluate whether or not a community or communities will incur substantial adverse impacts as a result of implementing the pollution controls, the following five steps are followed:

- Verify Project Costs and Calculate the Annual Cost of the Pollution Control Project

- Calculate Total Annualized Pollution Control Costs Per Household

- Calculate and Evaluate the Municipal Preliminary Screener

- Apply the Secondary Test, and

- Assess Where the Community Falls in the Substantial Impacts Matrix

Verify Project Costs and Calculate the Annual Cost of the Pollution Control Project

Table 6

Community Estimates of Proposed Capital and O&M Costs

Page*   	   Mullen*   	Smelterville

(1) Total Capital Costs			28,395,500	 7,236,000	    710,000**

(2) Total Capital Costs for Page & Mullen	35,631,500

(3) Annualized Capital Costs 			  2,738,712		      51,093

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

(4) Annual O& M Costs 		     374,000	      50,000		      24,419**

(a) O&M Costs for Page & Mullen	    424,000

(b) Upgrade O&M Costs Increases

For Power and Equipment	      48,800

(5) Total Annual O&M Costs 			    472,800		      16,800

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

(6) Total Annual Cost of Pollution Control

for Proposed Project 	[ (3) + (5) ]	 3,211,512		       67,893

___________

*   Page and Mullen submitted a joint, single submission.

** Based on EPA estimate for alternative option for metals removal at Page facility.

In addition, EPA subsequently provided the costs associated with an alternative pollution control process, as shown in Table 7, one purpose being to test how these alternative costs would impact on the communities.

Table 7

EPA Estimates of Proposed Capital and O&M Costs

Page*   	   Mullen*   	Smelterville

(1) Total Capital Costs			16,490,042	 4,897,588	 4,897,588

(2) Total Capital Costs for Page & Mullen	21,387,630

(3) Annualized Capital Costs 			  1,716,199		     392,995

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

(4) Annual O& M Costs 			     231,125	      70,187	      70,187

(a) O&M Costs for Page & Mullen	     301,312

(b) Upgrade O&M Costs Increases

For Power and Equipment	       48,800

(5) Total Annual O&M Costs 			     350,112		      70,187

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

(6) Total Annual Cost of Pollution Control

for Proposed Project 	[ (3) + (5) ]	  2,066,311		     463,182

___________

* Page and Mullen submitted a joint, single submission.

Calculate Total Annualized Pollution Control Costs Per Household

This calculation provides a means to assess the financial burden on each household as a result of the proposed project, as shown in Table 8.

Table 8

Current Total Annual Pollution Control Costs per Household

Page &  Mullen*    		       Smelterville

Permittee        EPA est.		Permittee     EPA est.

Existing Pollution Control

(1) Total Annual Costs				     666,017		     	63,344

(2) Percent of Costs Paid per Household 		        84% 		     	   88%

(3) Amount of Paid

per Household [ (1) x (2) ]			     559,839		     	 55,743

(4) Number of Households			         4,546		     	      238

(5) Annual Cost per Household

for Current Pollution Controls  [ (3)  (4) ]                      123			      234

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

Proposed Pollution Control Project

(6) Total Annual Cost for Proposed Project		  3,211,512     2,066,311	  	 67,893           463,182

(7) Amount to be Paid by Households

[ (6) x (2) ]				  2,697,670     1,735,701	  	 59,746           407,600

(8) Annual Cost per Household			            593              382	    	      251              1,713

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

(9) Total Annual Pollution Control Costs

per Household	[ (5) + (8) ]		            716	     505	  	      485             1,947

____* Page and Mullen submitted a joint, single submission.

Calculate and Evaluate the Municipal Preliminary Screener Score

The Municipal Preliminary Screener is one of two tests that are used to  determine whether a community can clearly pay for the project without incurring any substantial adverse impacts by looking at the total annual pollution costs per household. The screener is derived as follows:

Municipal Preliminary Screener (MPS)  = Average Total Pollution Control Cost per Household

Median Household Income

The actual calculations are shown below in Table 9.

Table 9

Total Annual Pollution Control Costs per Household as a Percentage of Median Household Income

Page and Mullen   *	       Smelterville

Permittee     EPA est.	Permittee     EPA est.

(1) Total Annual Pollution Control Costs

per Household [Table 2, line 9]	        716           	  505		      485	        	 1,947

(2) Median Household Income		   25,277            25,277		 31,662*              27,927**

(3) Municipal Preliminary Screener

[ (1)  (2) ]			     2.84%            2.00%		     1.54%              6.98%

1.74%***

*     1997 data.

**    1999 data.

***   Calculated using a Median Household Income of $27,927.

If the average annual cost per household exceeds 2.0 percent of median household income, then the project may place an unreasonable financial burden on many of the households within the community and the community should also look at the Secondary Test (in the next section.) Where the screener value falls between 1.0 and 2.0 percent (i.e., the mid-range) then the community, there could be a mid-range impact and here too the community should also perform the Secondary Test.

For Page and Mullen, the screener value using the communities’ data is 2.84% and  the screener value based on EPA’s estimate for costs is 2.0%. Both screener values indicate that  these two communities could face an unreasonable financial burden by implementing the project. The screener value calculated by the City of Smelterville is 1.54%, a mid-range value. However, when EPA used a more current Median Household Income figure then the screener value increased to 1.74%, indicating an increased probability for an adverse impact when a more relevant Median Household Income figure is used. When EPA’s estimates are used the resulting screener is 6.98%, far exceeding the 2.0% threshold for that may indicate the project may place an unreasonable burden on the City of Smelterville.

Apply Secondary Test

The Secondary Test is used to indicate the community’s ability to obtain financing for the proposed project and describes the community’s financial health. Six indicators are used:

Debt Indicators

- Bond Rating - a measure of the community’s credit worthiness

- Overall Net Debt as a Percent of Full Market Value of Taxable Property - a measure of debt burden on the community’s residents

Socioeconomic Indicators

- Unemployment Rate - a measure of the general health of the community

- Median Household Income - a measure of the community’s wealth

Financial Management Indicators

- Property Tax Revenue as a Percent of Full Market value of Taxable Property - a measure of the funding capacity available to support debt based on the wealth of the community

- Property Tax Collection Rate - a measure of how well local government is administered

When completed, each indicator is then assessed against a scoring table where that indicator is assigned a value: 1 if the indicator is judged to be weak, 2 if the indicator is judged to be mid-range, and 3 for a strong indicator. The values are then added and the sum divided by six (the number of indicators) to get an average score. The Secondary Test scores for the communities are shown in Table 10.

Table 10

Community Average Secondary Test Scores

| Community | Average Score |
| --- | --- |
| Page and Mullen | 1.83 |
| Smelterville | 1.67 |

Assess Where the Community Falls in The Substantial Impacts Matrix

In order to determine if there will be substantial adverse impacts to the community from the proposed project, the results of the Municipal Preliminary Score and the Secondary Test Score are evaluated together within the  Assessment of Substantial Impacts Matrix. In this matrix the Municipal Preliminary Score determines the column and the Secondary Test Score determines the row. The intersection of the two scores defines a box, and that box within the EPA Guidance indicates the relative magnitude of the impact due to the project, i.e., the impact will not likely be substantial, it will likely be substantial, or the impact is not clear. As shown in Table 11, the matrix indicates that substantial adverse impacts will occur for Page and Mullen.  For Smelterville, while the initial indication in the matrix is that the impact is unclear, moving to the next closest box in the matrix based on the screening scores indicates that substantial impacts are likely to occur.  The EPA calculation draws the same conclusion from the matrix.

Table 11

Results from the Assessment of Substantial Impacts Matrix

|  | Page and Mullan | Smelterville |
| --- | --- | --- |
| Community submission | Will incur substantial impacts | The impact is unclear. (In this case the community moves to the next closest box based on the screening scores, which indicates substantial impacts are likely. |
| EPA adjusted figures | Will incur substantial impacts. | Will incur substantial impacts. |