| Source | Permit No. | Location | PM2.5 Monitoring (’10-’12) | Emissions Unit | Source Test Results | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| Boise Cascade | 30-0016 | Pilot Rock | ~22 µg/m3 (Pendleton) | 3 wood-fired boilers | 0.06-0.19 | Backup to natural gas fired boiler. |
| Collins Sawmill | 19-0002 | Fremont | 33 µg/m3 (Lakeview) | 2 wood-fired boilers | 0.08 - 0.13 |  |
| Columbia Forest Products | 18-0014 | Klamath Falls | 35 µg/m3 | 2 wood-fired boilers | 0.08 – 0.19 |  |
| Interfor Pacific | 18-0005 | Gilchrist | ~18 µg/m3 (Bend) | 2 wood-fired boilers | 0.086 - 0.21 |  |
| Frank Lumber | 22-2525 | Lyons | ~22 µg/m3 (Sweet Home) | Wood fired boiler | 0.137 | multiclone |
| Swanson Group | 10-0030 | Roseburg | ~27 µg/m3 | Wood fired boiler | 0.17 | HF < 26,800 lb/hr steam NG > 26,800 lb/hr steam |
| Harney Rock and Paving | 13-0010 | Burns | 30 µg/m3 | Asphalt plant | 0.22 | (1992 ST) |
| Rogers Asphalt Paving | 31-0001 | Island City | ~20 µg/m3 (La Grande) | Asphalt plant | 0.11 |  |