International Paper Co. – Gresham Plant

ACDP No. 26-3051

Application No. 023554

FUEL COMBUSTION:

Natural Gas:			220 MMCF/yr		0.03 MMCF/hr	8760 hr/yr

Oil type: No. 2			258 1000 Gal/yr	 174 Gal/hr		1480 hr/yr

| Natural Gas Emissions |  |  |  |  |
| --- | --- | --- | --- | --- |
| Pollutants | Emission Factor | Units | Reference | Longterm ton/yr |
| PM/PM10 | 7.6 | lb/MMCF | AP-42 | 0.8 |
| SO2 | 0.6 | lb/MMCF | AP-42 | 0.1 |
| NOX | 100 | lb/MMCF | AP-42 | 11.0 |
| CO | 84 | lb/MMCF | AP-42 | 9.2 |
| VOC | 5.5 | lb/MMCF | AP-42 | 0.6 |

| Oil Emissions |  |  |  |  |
| --- | --- | --- | --- | --- |
| Pollutants | Emission Factor | Units | Reference | Longterm, ton/yr |
| PM/PM10 | 2 | lb/1000 Gal | AP-42 | 0.3 |
| SO2 | 71 | lb/1000 Gal | AP-42 | 9.2 |
| NOX | 20 | lb/1000 Gal | AP-42 | 2.6 |
| CO | 5 | lb/1000 Gal | AP-42 | 0.6 |
| VOC | 0.34 | lb/1000 Gal | AP-42 | 0.0 |

PROCESSES:

Corrugator:			6240 hr/yr

Paper processed:	    1.60E+09 SF/yr	    	300000 SF/hr

| Corrugator/ Pollutant | Emission Factor | Units | Reference | Longterm ton/yr |
| --- | --- | --- | --- | --- |
| VOC | 0.0082 | lb/MSF | Emission Test | 6.56 |
| PM10 | 0.006 | lb/MSF | Engineer Estimate | 4.80 |

| Emission Totals |  |
| --- | --- |
| Pollutant | Tons/yr |
| PM | 8.3 |
| PM10 | 5.9 |
| SO2 | 9.2 |
| NOX | 13.6 |
| CO | 9.9 |
| VOC | 15.8 |

Finishing throughputs	        342000 lb ink/yr		    5800 ton scrap

| Finishing Inks/ Pollutants | Emission Factor | Units | Reference | Longterm, ton/yr |
| --- | --- | --- | --- | --- |
| VOC - avg. of 5.0% by weight | 0.0500 | lb/lb ink | Mass Balance | 8.6 |

| Scrap Cyclones/ | Emission Factor | Units | Reference | Longterm, ton/yr |
| --- | --- | --- | --- | --- |
| PM | 0.83 | lb/ton scrap | Emission test (1994) | 2.4 |