## Slide 1
Influent = 180 ng/L
Effluent = 15 ng/L
Intake Credit = ** ng/L?
Level Currently Achievable – Concept for MDV
Principles
Use averages – no daily maxima
Minor dischargers – LCA is a standard MMP and monitoring
Major dischargers – LCA is MMPs and treatment upgrades to get to 5 ng/L
MMPs can attain 100 ng/L
MMPs + treatment can attain 5 ng/L
90 – 95% removal efficiency
Years
0
5
10
2
Monitor
Implement MMP
If > 5 MGD
Monitor - % reduction (influent goal 100 ng/L)
Facility Plan if effluent > 5 ng/L
Construction
If < 3 MGD
Monitor - % reduction (influent goal 100 ng/L)
Facility Plan if effluent > 10 ng/L
Off Ramp: Individual Variance and attain 0.12 ng/L
Off Ramp: Individual Variance and attain 0.12 ng/L
Attain 5 ng/L
Complete Construction
Meet MMPs