Oregon

Kate Brown, Governor

# Department of Transportation

Region 1 Headquarters

123 NW Flanders Street

Portland, Oregon  97209

(503) 731.8200

FAX (503) 731.8259

August 1st, 2019						                               ODOT #9187

ODOT Response

| Project Name: 723 W Main Street | Legal Description: 05S 02E 08AC Tax Lot(s): 04000 |
| --- | --- |
| Jurisdiction: City of Molalla | State Highway: OR 211 |
| Site Address: 723 W Main Street, Molalla, OR |  |

The site of this proposed land use action to convert an existing house into a gun sales establishment is adjacent to W Main St (OR 211). ODOT has permitting authority for this facility and an interest in ensuring that this proposed land use is compatible with its safe and efficient operation. Please direct the applicant to the District Contact indicated below to determine permit requirements and obtain application information.

COMMENTS/FINDINGS

All alterations within the State highway right of way are subject to the ODOT Highway Design Manual (HDM) standards. Alterations along the State highway but outside of ODOT right-of-way may also be subject to ODOT review pending its potential impact to safe operation of the highway. If proposed alterations deviate from ODOT standards a Design Exception Request must be prepared by a licensed engineer for review by ODOT Technical Services. Preparation of a Design Exception request does not guarantee its ultimate approval.  Until more detailed plans have been reviewed, ODOT cannot make a determination whether design elements will require a Design Exception.

Note: Design Exception Requests may take up to 3 months to process.

All ODOT permits and approvals must reach 100% plans before the District Contact will sign-off on a local jurisdiction building permit, or other necessary requirement prior to construction.

ODOT RECOMMENDED LOCAL CONDITIONS OF APPROVAL

Frontage Improvements and Right of Way

Curb, sidewalk, and bike lane and road widening shall be constructed as necessary to be consistent with local, ODOT and ADA standards.

Right of way deeded to ODOT as necessary to accommodate the planned cross section shall be provided (34ft from centerline). The deed must be to the State of Oregon, Oregon Department of Transportation. The ODOT District contact will assist in coordinating the transfer. ODOT should provide verification to the local jurisdiction that this requirement has been fulfilled. The property owner must be the signatory for the deed and will be responsible for a certified environmental assessment of the site prior to transfer of property to the Department.

Note: It may take up to 3 months to transfer ownership of property to ODOT.

Access to the State Highway

A State Highway Approach Road Permit from ODOT for access to the state highway or written determination (e-mail, fax or mail acceptable) from ODOT that the existing approach is legal for the proposed use is required. Truck turning templates shall be provided as needed to ensure vehicles can enter and exit the approach safely. Site access to the state highway is regulated by OAR 734.51. For application information go to http://www.oregon.gov/ODOT/HWY/ACCESSMGT/Pages/Application-Forms.aspx.

Note: It may take 2 to 3 months to process a State Highway Approach Road Permit.

Permits and Agreements to Work in State Right of Way

An ODOT Miscellaneous Permit must be obtained for all work in the highway right of way. When the total value of improvements within the ODOT right of way is estimated to be $100,000 or more, an agreement with ODOT is required to address the transfer of ownership of the improvement to ODOT. An Intergovernmental Agreement (IGA) is required for agreements involving local governments and a Cooperative Improvement Agreement (CIA) is required for private sector agreements. The agreement shall address the work standards that must be followed, maintenance responsibilities, and compliance with ORS 276.071, which includes State of Oregon prevailing wage requirements.

Note: If a CIA is required, it may take up to 6 months to process.

An ODOT Miscellaneous Permit is required for connection to state highway drainage facilities. Connection will only be considered if the site’s drainage naturally enters ODOT right of way. The applicant must provide ODOT District with a preliminary drainage plan showing impacts to the highway right of way.

A drainage study prepared by an Oregon Registered Professional Engineer is usually required by ODOT if:

- Total peak runoff entering the highway right of way is greater than 1.77 cubic feet per second; or

- The improvements create an increase of the impervious surface area greater than 10,758 square feet.

ADVISORY INFORMATION

Signs:

Off-premises signs require a permit through the ODOT Outdoor Advertising Sign program (ORS 377.725). To determine whether or not a sign will be on or off premises contact Jill Hendrickson (ODOT Right-of-Way 503.986.3635).

Private signs are not permitted in the state highway right of way (ORS 377.700-377.840).

Please send a copy of the Land Use Notice to:

ODOT Region 1 Planning

Development Review

123 NW Flanders St

Portland, OR 97209

ODOT_R1_DevRev@odot.state.or.us

| Development Review Planner: Marah Danielson | 503.731.8258, marah.b.danielson@odot.state.or.us |
| --- | --- |
| Traffic Contact: Avi Tayar, P.E. | 503.731.8221 Abraham.tayar@odot.state.or.us |
| District Contact: Loretta Kieffer | 503.667.7441 Loretta.L.Kieffer@odot.state.or.us |