CHLORINE ROOM INJECTION VALVES

THIS THREADED FITTING REQUIRES THREAD PASTE AND NO MORE THAN 1-1½ TURNS PAST HAND TIGHT.  IF LEAKING REMOVE AND REAPPLY THREAD PASTE/SEALANT.  THREADED FITTINGS CRACK EASILY.

THESE 2 FITTINGS ARE “HAND” TIGHT ONLY AND NO THREAD SEALANT.

PUSH DISARM RE-ARM BUTTON TO CLEAR ALARMS