Request for Quotes | Storey Dr Water Services | 10/03/18

The City of Molalla (the City) is seeking quotes for the replacement of Eight water services in five trenches on Storey Drive in Molalla. The City has replaced eight similar services on Storey Dr, and found normal digging conditions, with all water services at about 36 inches below grade. The Contractor will replace Eight services using parts supplied by the City in Five trenches which will have asphalt pre-sawcut (including T-Cut) by the City. The Contractor will excavate the asphalt and soil layers, expose the services, coordinate with the City and residents on Storey Dr for brief mainline shutdowns, and replace the services in accordance with City Detail Drawing W-3030 (attached), including the mainline service saddles. All parts for W-3030 will be supplied by the City. The Contractor may, but is not required to, spoil excavation material at the City Shops located at 920 Toliver Rd, which is about 1000 yards away from the job site. The Contractor will backfill the trenches with ¾- crushed rock supplied by the City and available for the Contractor to pick up at the City Shops. The backfilled trench will be compacted in 6” lifts with jumping jacks and brought to the surface. Once all services are complete the Contractor will asphalt pave all cuts on Storey Drive to 4” thick, roller compacting in 2” lifts, and replace concrete sidewalk panels. There will be approx. 1300 sf of asphalt to pave and 200 sf of sidewalk panels. If the Contractor uses a Subcontractor then the City shall be notified who the Subcontractor is one week in advance.

The Contractor will spare no expense in communicating with residents on Storey Drive, answering their concerns, keeping them informed, and working to limit the impact of the project on these residents. This will include door-to-door warnings before mainline shutdowns, working personally to coordinate equipment placement or resident parking issues, giving estimated time until water service will be restored, and estimated dates that final completion of the project (including asphalt paving) can be expected. In order to safeguard the public and drinking water quality and public infrastructure the Contractor will work under the supervision of the City of Molalla’s DHS Certified Direct Responsible Charge, and will comply with all instructions from this person, either verbal or written. The Contractor and any subcontractors will be in possession of a valid City of Molalla Business License (currently a $35 fee) and carry all the associated Liability, Automotive and Workers Comp Insurance, and proved the Procurement Officer with a copy of this Insurance Certificate. This is a 3-quote Public Works procurement under ORS 279B.070 and is not expected to qualify as a Prevailing Wage Job under BOLI. The deadline for submitting quotes is Friday 10/19/18, submit by email to the Procurement Officer. all work must be completed by 11/16/18. Those seeking to submit quotes may arrange to visit the site by contacting the Project Manager.

| Procurement Officer Andy Peters City of Molalla Public Works Operations Supervisor (503) 829-6855 x220 Cell: 503-793-0507 apeters@cityofmolalla.com 117 N Molalla Ave Molalla, OR 97038 | Project Manager: Adam Shultz City of Molalla Cell: 503-793-8402 ashultz@cityofmolalla.com |
| --- | --- |