National Pollutant Discharge Elimination System

PERMIT EVALUATION AND FACT SHEET

Oregon Department of Environmental Quality

Northwest Region

2020 SW Fourth Ave., Suite 450

Portland, OR 97202

(503) 229-5263

| Permittee: | NW Natural |
| --- | --- |
|  | NW Natural Gas Site Remediation |
| Existing Permit Information: | File Number: 120589 |
|  | Permit Number: 103061 |
|  | EPA Reference Number: OR 004468-7 |
|  | County: Multnomah |
| Source Contact: | #### Robert Wyatt NW Natural Remediation Manager 503-226-4211 |
| Source Location: | #### 7900 NW St. Helens Rd |
| LLID | #### LLID: 1227618456580-6.4-D |
| Receiving Stream: | #### Willamette River |
| Proposed Action: | #### New NPDES Permit |
|  | #### Application Number: 967828 |
|  | #### Date Received: 1/28/2011; Supplemental information received #### on 5/10/2011, 1/31/2012 and 10/31/2012 |
| Source Category | #### NPDES Minor – Industrial |
| Permit Writer: | #### Rob Burkhart |
|  | #### 503-229-5566 |
| Date Prepared: | #### July 17, 2013 |

Table of Contents

1.0 Introduction	3

2.0 Facility Description	3

3.0 Receiving Water	7

4.0 Permit limits	11

5.0 Compliance History	16

6.0 Draft Permit Discussion	16

7.0 Next Steps 	22

Attachments

Attachment A – Outfall 001 Aquatic Life Reasonable Potential Analysis Spreadsheet

Attachment B – Outfall 001 Human Health Reasonable Potential Analysis Spreadsheet

Attachment C – Outfall 001 Aquatic Life Effluent Limits Spreadsheet

Attachment D – Outfall 001 Human Health Effluent Limits Spreadsheet

Attachment E – Antidegradation Review Sheet

Attachment F – Mixing Zone Checklist

1.0 Introduction

On January 28, 2011, the Department of Environmental Quality (Department) received a National Pollutant Discharge Elimination System (NPDES) permit application from NW Natural. Supplemental information was received on 5/10/2011, 1/31/2012 and 10/31/2012.  The application is for a new NPDES permit to discharge treated groundwater and stormwater from an existing natural gas storage site to the Willamette River.

This permit evaluation report describes the basis and methodology used in developing the permit.  The permit is divided into several sections:

Schedule A – Waste discharge limitations

Schedule B – Minimum monitoring and report requirements

Schedule D – Special Conditions

Schedule F – General conditions

(Schedules C and E are not applicable to this permit.)

The Federal Water Pollution Control Act of 1972 and subsequent amendments require an NPDES permit for the discharge of wastewater to surface waters.  Furthermore, Oregon Revised Statutes (ORS 468B.050) also require a discharger be granted a permit for the discharge of wastewater to surface waters.  This proposed permit action by the Department complies with both federal and state requirements.

2.0 Facility description

2.1 General Description

The NW Natural facility at 7900 NW St. Helens Road in Portland, also known as the “Gasco Site,” is located on approximately 45 acres of land on the westside of the Willamette River at approximately river mile (RM) 6.4 (Figure 1).  The site is currently used by NW Natural for the processing and storage of liquefied natural gas (LNG).  Portions of the site are leased for the storage of bulk petroleum and the bulk transfer of creosote oil and coal tar pitch.

Historically, NW Natural (then known as Portland Gas & Coke [PG&C]) operated an oil manufactured gas plant (MGP) and by-products refinery, known as the “Gasco Facility,” on the NW Natural property between 1912 and 1956.  PG&C also owned a portion of the property located immediately south of the existing site (i.e., part of the current Siltronic Corporation property) from 1939 until 1962.  PG&C sold approximately 40 acres of the southern portion of the original property in 1962.  Siltronic Corporation purchased these 40 acres in 1978.

Management of MGP wastes occurred on the NW Natural property throughout the life of the Gasco Facility (1913 through 1956).  The Gasco Facility produced MGP waste that was placed in piles (lampblack, spent oxide, and gas purifier piles) and discharged to ponds (effluent discharge, settling, storage, and overflow ponds) located in non-production areas of the Gasco Facility.  From 1913 to 1941 wastewater and tar waste from the onsite processes were discharged to low lying areas of the site with drainage features leading from the Gasco Facility production area to the Willamette River.  On the adjoining Siltronic property MGP waste management activities occurred between approximately 1941 and 1956 and involved MGP waste stockpiling (e.g., spent oxide) and discharging effluent to ponds.  The effluent ponds were located in the northern portion of the Siltronic site.  In addition to the sources associated with the historic operations of the Gasco Facility, releases from a former solvent underground storage tank system (Former UST System) at the Siltronic site resulted in groundwater in the northern portion of the property being contaminated by chlorinated volatile organic compounds (cVOCs), including trichloroethene (TCE) and its associated degradation products including cis-1,2-dichloroethene, trans-1,2-dichloroethene, 1,1-dichloroethene, and vinyl chloride.

Site investigations conducted to date in the uplands and offshore areas of the Gasco Site and the northern portion of the Siltronic Property have determined that MGP waste and releases from the Former UST System have impacted groundwater occurring in the fill and underlying alluvium.  In general, contaminated groundwater in the fill and alluvium has been migrating to the portion of the Willamette River that was listed on the National Priorities List (“Superfund” list) in December 2000 for contaminated sediments.

Figure 1:  Facility Location

2.2 Wastewater Characteristics, Treatment and Discharge

DEQ determined that the fill and alluvium are high priority groundwater contaminant transport pathways to the Willamette River that warrant source control.  NW Natural is constructing a source control measure for the alluvium that consists of a series of groundwater extraction wells along the shoreline of the Gasco Site and the northern portion of the Siltronic site.  The design objective of this extraction system is to reverse the groundwater hydraulic gradient from the river back towards the uplands.  Groundwater conditions currently result in the discharge of contaminated groundwater into the Willamette River untreated.  The treated effluent proposed for discharge under the NPDES permit is effluent from a wastewater treatment system.  Initially this system will be treating the groundwater removed by extraction wells, as well as a much smaller volume of stormwater and intercepted groundwater from the site’s operational LNG tank basin.  A future source of water to the treatment system will be a trench designed to intercept groundwater in the fill.  A work plan for investigation of potential interceptor trench routes is scheduled to be submitted to DEQ in June, 2013.

2.2.1 Wastewater Treatment System

The treatment system to be constructed on the site will be an advanced system, designed with the objective of being able to meet pertinent ambient water quality standards at the point of discharge (i.e., without an allocated mixing zone within the river).  This design objective required by the Department is more stringent than that applied to typical discharges due to the relationship between the sites’ groundwater and the listing of the lower Willamette River on the National Priorities List (“Superfund” list).

NW Natural’s treatment plant consultants initially conducted a bench-scale treatment study in an off-site laboratory.  The results of this study were then used to assist in the design of a pilot treatment plant, which was operated for approximately 5 weeks in the summer of 2009.  A report on the pilot treatment system (NW Natural and Siltronic Groundwater Treatment Pilot Plant Report, Sevensen Environmental Services, Inc., 12/2009) indicated that the selected processes were adequate to control each of the pollutants of concern with the exception of total cyanide.  As discussed in detail in Section 3.4 below, removal of total cyanide in the groundwater has proven to be difficult.  As such, it was decided that the final treatment plant would incorporate a cyanide destruction process capable of using either of the two processes with the most potential to meet the total cyanide criteria.  These processes use either sodium hypochlorite or hydrogen peroxide.

The wastewater treatment system consists of the three principal components:  1) the building containing the main treatment system; 2) two pretreatment facilities, and 3) conveyance piping from the groundwater extraction wells to the pre-treatment facilities and from the pre-treatment facilities to the main treatment building.  When the final treatment plant is operational, groundwater contaminated by MGP constituents and cVOCs, and by MGP constituents only, will receive initial treatment in two separate, parallel treatment trains.  The groundwater contaminated by MGP constituents and cVOCs will be routed to one pretreatment facility where it will be dosed with sodium hydroxide (for pH adjustment), sent to an air stripper and then to an equalization tank.  Groundwater impacted only by MGP constituents will receive initial treatment in a similar manner at the second pretreatment facility but without the pH adjustment (which was determined to be unnecessary).  Following the initial treatment, the two waste streams will be mixed and conveyed to the main treatment system building for treatment prior to discharge.  The main treatment process involves dosing the wastewater with a polymer before routing it to a flocculation/settling basin.  From here the waste stream will enter a cyanide destruct chamber, a series of primary bag filters, a granular activated carbon system, a series of secondary bag filters and then an effluent storage tank from where it will be discharged to the Willamette River via the outfall described in Section 2.4 below.

2.2.2 Wastewater Characteristics

Laboratory and field analyses of the groundwater, along with an examination of the prior operational history of the two sites, have resulted in a list of contaminants of concern in the groundwater (see Section 4.3.1, below).  As mentioned above, a large-scale pilot wastewater treatment system was installed and operated at the site in 2009 (effluent from this system was directed to the city’s sanitary sewer system).  The effluent was monitored and the collected data, presented in the permit application, have been used to provide an estimated characterization of the final effluent quality.  As explained in Sections 4.3.1 and 4.3.2, below, these data have been used to assist in the development of permit effluent limits.  The expected effluent flow rates from the system (including water from both the Siltronic and NW Natural sites) are 0.67 million gallons (MGD) as an average daily flow and 0.96 MGD as a maximum day flow.   (These flow rates, which include the potential stormwater from the LNG tank basin, equate to approximately 470 gallons per minute [GPM] and 670 GPM, respectively.)

2.3 Stormwater

There are five general stormwater collection areas on the former Gasco site:  the NW Natural LNG tank basin, the NW Natural LNG operations area, and portions of the properties occupied by Siltronic, Pacific Terminal Services, and Koppers.  The last three areas listed each have separate NPDES permits regulating stormwater.  Stormwater from the LNG tank basin is currently treated and discharged to the city sanitary sewer, but in the future will be treated and discharged under this permit.  The stormwater originating in the LNG operations area (outside of the LNG tank basin) has previously been characterized and it has been determined that it is not contaminated with pollutants associated with the former gasification operations.

2.4 Outfall

The proposed effluent outfall (Outfall 001) is expected to consist of an 8-inch diameter pipe extending from the treatment building to an existing wooden dock (see figure 2).  The outfall will then be routed down below the water surface and will terminate with a 12-foot long horizontal diffuser strapped to the dock at a depth of approximately 12 feet (at low water) and oriented perpendicular to the river flow.  The outfall pipe will be high-density polyethylene (HDPE) pipe in the buried sections and steel in the above-ground and underwater sections. The diffuser will consist of four 2-inch ports located on 2-foot risers and having a spacing of 4 feet between ports.  These ports will be oriented downstream.

Figure 2:  Proposed Outfall Location

3.0 Receiving Water

The receiving water for the discharged effluent will be the lower Willamette River.  As shown in Figure 1, the discharge will occur just upstream of the St. John’s Bridge, in the portion of the river known as the Portland Harbor.  As mentioned above, this portion of the river was listed on the National Priorities List (“Superfund” list) in December 2000 for contaminated sediments.

3.1 Water Quality Standards

The applicable water quality standards for the Willamette River are found in Oregon Administrative Rule (OAR) 340-041 (Willamette River Basin).  These standards are intended to be protective of the beneficial uses for the basin.  These beneficial uses, listed in OAR 340-041 Table 340A, are as follows:

- Public and Private Domestic Water Supply,

- Industrial Water Supply,

- Irrigation,

- Livestock Watering,

- Fish and Aquatic Life,

- Wildlife and Hunting,

- Fishing,

- Boating,

- Water Contact Recreation,

- Aesthetic Quality, and

- Hydro Power.

The applicable water quality criteria are also found in Oregon Administrative Rule (OAR) 340-041.  They are intended to be protective of the beneficial uses for the basin, as listed above.  Selected water quality criteria for the Willamette River are presented in Tables 1 through 3.

| Table 1: Selected Applicable Conventional Water Quality Criteria For Conventional Parameters (From OAR 340-041) |  |
| --- | --- |
| Parameter | In-stream Water Quality Criteria |
| Dissolved Oxygen | Cool Water Aquatic Life Criteria (applies in summer): > 6.5 mg/L (absolute minimum for surface samples) |
| pH | > 6.5 and < 8.5 |
| Temperature | The 7-day average maximum temperature of a stream identified as a migration corridor may not exceed 20 ºC (68 ºF) – Insignificant anthropogenic inputs are allowed |
| Turbidity (OAR 340-041-0036) | No more than a ten percent cumulative increase in natural stream turbidities shall be allowed, as measured relative to a control point immediately upstream of the turbidity causing activity. |

| Table 2: Selected Applicable Toxic Water Quality Criteria For the Protection of Aquatic Life |  |  |
| --- | --- | --- |
| Parameter | Criteria for Protection of Freshwater Aquatic Life ( µg/L) |  |
|  | Acute | Chronic |
| Arsenic III | 360 | 190 |
| Cadmium | 1.8 | 0.7 |
| Copper* | 30 | 19 |
| Free Cyanide | 22 | 5.2 |
| Lead* | 118 | 4.6 |
| Mercury | 2.4 | 0.012 |
| Selenium | 260 | 35 |
| Zinc* | 188 | 190 |
| * Hardness dependent criteria. A hardness of 175 mg/L was used for this table. |  |  |

| Table 3: Selected Applicable Toxic Water Quality Criteria For the Protection of Human Health |  |  |
| --- | --- | --- |
| Parameter | Criteria for Protection of Human Health (g/L) |  |
|  | Water & Fish Ingestion | Fish Consumption only |
| Acenaphthene | 95 | 99 |
| Anthracene | 2900 | 4000 |
| Benzene | 0.44 | 1.4 |
| Benzo(a)anthracene | 0.0013 | 0.0018 |
| Benzo(a)pyrene | 0.0013 | 0.0018 |
| Benzofluoranthene 3,4 | 0.0013 | 0.0018 |
| Copper | 1300 | n/a |
| Chrysene | 0.0013 | 0.0018 |
| Total Cyanide | 130 | 130 |
| Dichloropropylene 1,3 | 0.3 | 2.1 |
| Diethyl phthalate | 3800 | 4400 |
| Ethylbenzene | 160 | 210 |
| Fluoranthene | 14 | 14 |
| Fluorene | 390 | 530 |
| Indeno(1,2,3-cd)pyrene | 0.0013 | 0.0018 |
| Phenol | 9400 | 86000 |
| Pyrene | 290 | 400 |
| Selenium | 120 | 420 |
| Toluene | 720 | 1500 |
| Zinc | 2100 | 2600 |

3.2 Receiving Stream Water Quality

Section 303(d) of the Clean Water Act requires each state to develop a list (the “303(d)” list) of water bodies that do not meet state surface water quality standards after implementation of technology-based controls.  Each state is then required to complete a Total Maximum Daily Load (TMDL) for water bodies on the 303(d) list.  The TMDL must address water quality on a basin-wide scale to ensure overall water quality standards will be met.

When discharging, NW Natural will discharge wastewater to the portion of the Willamette River that is listed as being water quality limited on the Department’s 2010 303(d) list (the most recent listing).  Table 4, below, includes the parameters for which water quality standards in the applicable segment of the Willamette River are not met and the season when standards are exceeded.

| Table 4: 2010 303(D) Listing Information |  |  |
| --- | --- | --- |
| Stream Segment | Parameter | Season |
| Willamette River (Mouth to Willamette Falls) | Aldrin | Year Around |
|  | Bacteria (E. coli.) | Fall/Winter/Spring |
|  | Biological Criteria | Year Around |
|  | Chlordane | Year Around |
|  | Chlorophyll a | Summer |
|  | Cyanide (Free) | Year Around |
|  | DDT & DDE (DDT metabolite) | Year Around |
|  | Dieldrin | Year Around |
|  | Dioxin (2,3,7,8-TCDD) | Undefined |
|  | Hexachlorobenzene | Year Around |
|  | Iron | Year Around |
|  | Manganese | Year Around |
|  | Mercury | Year Around |
|  | Polychlorinated Biphenyls (PCBs) | Year Around |
|  | Pentachlorophenol | Undefined |
|  | Polynuclear Aromatic Hydrocarbons (PAHs) | Year Around |
|  | Temperature | Year Around (non-spawning) |

Of the pollutants contained in the 303(d) list, free cyanide, iron, manganese, mercury, PAHs and temperature have the potential to be impacted by this discharge.  The state water quality criteria for iron and manganese were recently modified, with freshwater human health criteria withdrawn and no longer applicable.  (The aquatic life criterion for iron remains in effect.)  A temperature TMDL for the Willamette River was finalized in September of 2006.  A discussion of the temperature issues associated with the discharge is presented in Section 4.3.2.  A discussion of the other pollutants of concern is also presented in Section 4.

3.3 Threatened & Endangered Species

Species of anadromous salmonids that use the lower Willamette River near the Gasco site include chinook salmon (Oncorhynchus tshawytscha), coho salmon (O. kisutch), steelhead (O. mykiss), and cutthroat trout (O. clarki).  Resident salmonid game species include cutthroat trout.  Bull trout do not occur in this area of the Willamette River.

On March 16, 1999, the National Marine Fisheries Service (NMFS) listed chinook salmon in the Lower Columbia River Evolutionary Significant Unit (ESU) as a threatened species under the Endangered Species Act (ESA).  On March 13, 1998, NMFS listed the Lower Columbia River ESU steelhead trout stocks as a threatened species under the ESA.  These species utilize the Willamette River and its tributaries.  The Willamette River has been designated as critical habitat for listed chinook salmon and steelhead by the NMFS.

Based on the fish use and spawning use maps contained in OAR 340-041 (Figures 340A and 340B), the designated fish use for this segment of the Willamette River is as a salmon and Steelhead migration corridor with no designated spawning uses.

3.4 Regulatory Mixing Zone Analysis

OAR 340-041-0053 provides that the Department may suspend all or part of the water quality standards in a designated portion of the receiving water to serve as a zone of dilution for wastes and receiving waters to mix thoroughly.  Chronic water quality standards for all parameters must be met at the edge of the defined Mixing Zone.  Compliance with acute toxicity standards must be met at the edge of the Zone of Initial Dilution (ZID).

Due to the expected high quality of the effluent from the site’s wastewater treatment system, a mixing zone for most pollutants is not necessary (i.e., water quality standards are expected to be met at the “end of pipe”).  However, the treatment of total cyanide at the site has proven to be somewhat more difficult.  While free cyanide concentrations in the effluent from the pilot treatment plant consistently met ambient water quality criteria, the total cyanide levels did not.

Cyanide is present in the groundwater throughout the site and it is a pollutant of concern in the effluent.  In designing the wastewater treatment plant the destruction and removal of cyanide was given a high priority.  However, the presence of iron and certain organic compounds in the groundwater made treatment for cyanide difficult.  The bench-scale treatment studies tested three promising cyanide treatment methods.  The cyanide destruction (oxidation) processes selected for the pilot study included the use of hydrogen peroxide alone as well as ultraviolet (UV) light combined with hydrogen peroxide.  The results of the pilot-scale studies indicated that while the more biologically available (and toxic) forms of cyanide appear to have been destroyed within the treatment system, the presence of iron in the groundwater made the consistent destruction of total cyanide difficult.  In particular, the iron, organics and suspended solids appear to have impeded the cyanide destruction performance of the UV light.  The other technology used in the pilot plant (utilizing hydrogen peroxide) initially provided adequate removal, but did not consistently meet the total cyanide criterion (130 µg/L).

To further assess this issue, NW Natural’s consultants reviewed the known appropriate methods of total cyanide removal (NW Natural and Siltronic Supplement to NPDES Application No. 967828, Sevensen Environmental Services, Inc., January 2012). Based on this review, it was decided that the final treatment plant would incorporate a cyanide destruction process capable of using either of the two processes with the most potential to meet the total cyanide criteria. (These processes use either sodium hypochlorite or hydrogen peroxide.)  It is expected that one of these two methods will result in the plant effluent either meeting the total cyanide ambient water quality criterion at the point of discharge, or that the criterion will be met after mixing with a very limited amount of river water.

If it is determined that the effluent will not meet the total cyanide water quality criterion after treatment with available technology, a mixing zone will be needed for total cyanide.  To address this situation, the proposed permit temporarily allocates a limited mixing zone for total cyanide.  The continued use of the mixing zone will only be approved if the permittee adequately demonstrates that the total cyanide limitations (based on the 130 ug/L criterion) cannot be met following optimization of the treatment system.

The mixing zone in the proposed permit is only for total cyanide.  The mixing zone is defined as that portion of the Willamette River 18-feet wide and 6-feet long, centered on the outfall’s diffuser.  (The 18-foot width is perpendicular to the river flow.) A level II mixing zone study provided by NW Natural (NW Natural and Siltronic Source Control Treatment Plant Mixing Zone/Dilution Study, October 2012) indicates that a dilution of four (4) will easily be met within the mixing zone under critical conditions.  As explained in Section 4, below, this dilution was used to develop the total cyanide effluent limits in the proposed permit for the scenario involving the use of the mixing zone.   (For the scenario where the continued use of the mixing zone is not approved, no dilution was considered.)

4.0 Permit limits

Two categories of effluent limits exist for NPDES permits:  1) Technology based effluent limits, and 2) Water quality based effluent limits.  Technology based effluent limits are developed by applying the national effluent limitation guidelines (ELGs) established by EPA for specific industrial categories.  These limits are established to require a minimum level of treatment for industrial or municipal sources using available technology.  Water quality based effluent limits are designed to be protective of the beneficial uses of the receiving water and are independent of the available treatment technology.  In addition, when performing a permit renewal, there are existing permit limits.  These may be technology-based limits, water quality-based limits, or limits based on best professional judgment.   In general, when renewing a permit, the most stringent limits from each of these three categories apply.

4.1 Existing Permit Limitations

This facility currently does not have an NPDES permit for the discharges considered under the proposed permit, so there are no existing permit limitations.

4.2 Technology-Based Effluent Limits

EPA has developed effluent limitation guidelines (ELGs) for many types of industries.  These ELGs are codified in the Code of Federal Regulations (CFR).  For the primary discharge under consideration from this facility, treated groundwater, there are no technology based limits.

4.3 Water Quality-Based Effluent Limits

In the determination of water quality based effluent limits, a listing of pollutants of concern is first established and then each parameter is evaluated to determine whether the concentration of the pollutant in the discharge represents a “reasonable potential to exceed” water quality standards in the receiving stream (Willamette).  If the discharge concentration of a particular pollutant has a reasonable potential to exceed water quality standards, then water quality based effluent limits are established for that pollutant.

4.3.1 Pollutants of Concern

A list of the pollutants of concern has been developed for pollutants with the potential to be present in the effluent and for which water quality standards exist.  This list was developed through the evaluation of field analyses performed on the treated and untreated groundwater, and an examination of the prior operational history at the site.  This list is composed of numerous toxic pollutants including cyanide, phenols, polycyclic (polynuclear) aromatic hydrocarbons (PAHs), metals, and volatile organic compounds (VOCs).  The full list of identified toxic pollutants of concern is presented in Table 5, below.  In addition to the toxic pollutants, the conventional pollutants temperature and pH are also considered pollutants of concern since the treatment process may impact these parameters.

| Table 5: Toxic Pollutants of Concern List |  |  |
| --- | --- | --- |
| Free Cyanide | PAHs | Metals |
| Total Cyanide | Acenaphthene | Arsenic |
| Phenols | Anthracene | Cadmium |
| Pentachlorophenol | Benzo(a)Anthracene | Chromium III |
| Phenol | Benzo(a)Pyrene | Chromium VI |
| VOCs | Benzo(b)Flouranthene | Copper |
| Benzene | Benzo(k)Flouranthene | Iron |
| Dichloroethylene 1,1 | Chrysene | Lead |
| Ethylbenzene | Dibenzo(a,h)Anthracene | Mercury |
| Tetrachloroethylene | Flouranthene | Nickel |
| Toluene | Flourene | Selenium |
| Dichloroethylene Trans 1,2 | Indeno(1,2,3-Cd) Pyrene | Silver |
| Trichloroethylene | Pyrene | Zinc |
| Vinyl chloride |  |  |
| Note: The names used for each of these pollutants are from the water quality toxic criteria tables in Oregon Administrative Rule 340-041. |  |  |

Because the groundwater treatment system cannot begin discharging wastewater until an NPDES permit has been issued, no direct effluent data are currently available for this site.  However, as mentioned in previous sections of this report, a large-scale pilot groundwater treatment system was operated for approximately 5 weeks in the summer of 2009.  The effluent from this pilot system (which was discharged to the City of Portland’s sanitary sewer system) was sampled and analyzed for the pollutants of concern.  Since the design of the pilot system was very similar to that of the final treatment system, the effluent provides a reasonable estimate of the final system’s effluent quality.  Therefore, data collected during the operation of the pilot treatment system were used in the water quality analyses described below.  It should be noted that during the operation of the pilot treatment system effluent samples were taken separately for the treated groundwater from the Gasco site and also from the Siltronic site.  Both of these data sets were used in the analyses.

4.3.2 Water Quality Analysis

The following is an analysis of the potential water quality impacts for each of the pollutants of concern.  If warranted by a determination of reasonable potential to exceed a water quality criterion, effluent limits are also derived for each applicable pollutant.

4.3.2.1 pH

As noted in Section 3.1 of this report (Water Quality Standards), the water quality standard for pH for the Willamette Basin is 6.5 – 8.5 standard units (S.U.).  No mixing zone for pH is proposed for this discharge, therefore a pH effluent limit of 6.5 – 8.5 S.U. is included in the proposed permit.

4.3.2.2 Temperature

This segment of the Willamette River serves as a migration corridor for salmonids.  OAR 340-041-0028(4)(d) states that the 7-day average maximum temperature of a stream identified as a migration corridor may not exceed 20 ºC (68 ºF).  For streams that do not meet water quality standards, OAR 340-041-0028(12) states the following:

“Following a temperature TMDL or other cumulative effects analysis, waste load and load allocations will restrict all NPDES point sources and nonpoint sources to a cumulative increase of no greater than 0.3 degrees Celsius (0.5 Fahrenheit) above the applicable criteria after complete mixing in the water body, and at the point of maximum impact.”

Since a temperature TMDL has been completed for the Willamette River, the above provision from OAR 340-041-0028(12) applies.  The TMDL gave a “bubble allocation” to existing and future smaller point sources in the middle and lower reach of the Willamette River (RM 50 to 0).  Individual allocations were not assigned to sources under the bubble allocation.  Rather, the TMDL allows the smaller sources to discharge and the Department will track the total excess thermal load used under the bubble allocation limit.

The discharge from the NW Natural site will be composed of groundwater which is expected to be relatively cool (approximately 13 ºC), but will gain heat from ambient air within the treatment system.  During operation of the pilot treatment system, the highest 7-day average maximum temperature of the effluent was below 20 ºC.  This occurred during August, which represents a period where temperatures are at or near the maximum expected temperatures.  Based on this information, it was determined that this discharge does not have a reasonable potential to exceed the applicable biologically-based temperature criterion (20 ºC as a 7-day average of the maximum temperatures).  Also, since the expected discharge is below the criterion, the expected maximum excess thermal load of the discharge is zero.

Since the discharge has no reasonable potential to exceed the biologically-based temperature criterion and is consistent with the TMDL, the proposed permit does not include a temperature effluent limit.  The permit does, however, require the facility to monitor the effluent temperature and flow.  This will allow the Department to further evaluate thermal impacts during future permit renewals.

Thermal Plume Criteria

In addition to the temperature standard discussed above, the Department’s water quality standards also include temperature thermal plume limitations in OAR 340-041-0053(d).  This section of the rules contains criteria to prevent potential adverse impacts that may result from thermal plumes.  The criteria as they apply to the NW Natural discharge are discussed below:

- OAR 340-041-0053(d)(A):  Impairment of an active salmonid spawning area where spawning redds are located or likely to be located.

NW Natural discharge:  There is no salmonid spawning in this segment of the Willamette River.  This segment of the Willamette River serves as a migration corridor for salmonids.

- OAR 340-041-0053(d)(B):  Acute impairment or instantaneous lethality is prevented or minimized by limiting potential fish exposure to temperatures of 32 ºC or more to less than 2 seconds.

NW Natural discharge:  The maximum expected effluent temperature from the site is expected to be well below 32ºC, so this discharge is not expected to cause an acute impairment or instantaneous lethality.

- OAR 340-041-0053(d)(C): Thermal shock caused by a sudden increase in water temperature is prevented or minimized by limiting potential fish exposure to temperatures of 25 ºC or more to less than 5% of the cross-section of 100% of the 7Q10 flow of the waterbody.

NW Natural discharge:  The maximum expected effluent temperature from the site is expected to be below 25ºC; this discharge will not result in thermal shock.

- OAR 340-041-0053(d)(D): Unless ambient temperature is 21 ºC or greater, migration blockage is prevented or minimized by limiting potential fish exposure to temperatures of 21 ºC or more to less than 25% of the cross-section of 100% of the 7Q10 flow of the waterbody.

NW Natural discharge:  The limited volume and temperature of this discharge will not lead to conditions resulting in migration blockage conditions as described above.

Thus, the analysis indicates that the discharge from the NW Natural facility meets the temperature thermal plume limitations in OAR 340-041-0053(d).

4.3.2.1 Toxic Pollutants

For each of the toxic pollutants of concern that were found at detectable levels in the pilot treatment plant effluent,  an analysis of the potential to exceed ambient water quality criteria has been performed.   These analyses, described below, resulted in the determination that several of the pollutants have the potential to exceed ambient water quality standards and are therefore required to be regulated with effluent limits in the proposed permit.  It is expected that the full-scale treatment plant to be constructed at the site will be able to treat each of these pollutants, with the exception of total cyanide, to levels sufficient to meet the water quality criteria without taking into account the assimilative capacity of the river (i.e., without the use of a mixing zone).

Detectable Toxic Pollutants of Concern

As noted in Section 4.3.1 above, the toxic pollutants of concern in the discharge are specific phenols, PAHs, metals, VOCs, and cyanide (see Table 5).  The effluent from the pilot treatment system was sampled for these parameters and detectable levels of the toxic pollutants listed in Table 6 (below) were observed.

| Table 6: Detectable Toxic Pollutants of Concern in Pilot Plant Effluent |  |
| --- | --- |
| Total Cyanide | Metals |
| Phenol | Arsenic |
| PAHs | Chromium III |
| Anthracene | Chromium VI* |
| Benzo(a)Anthracene | Copper |
| Benzo(a)Pyrene | Iron |
| Dibenzo(a,h)Anthracene | Lead |
| Flouranthene | Mercury |
| Indeno(1,2,3-Cd)Pyrene | Nickel |
| Pyrene | Selenium |
|  | Zinc |

* Note: Chromium (VI) was not detectable in the effluent.  However, it was included on this list

because the data detection limits were higher than acceptable values.

Toxics Reasonable Potential Analysis

To determine whether the discharge has a reasonable potential to exceed water quality standards for the toxic pollutants of concern found at detectable levels, spreadsheets that simulate the approach in EPA’s Technical Support Document for Water Quality Based Toxics Control (EPA, March 1991) were used.  Pilot plant effluent data and Oregon water quality criteria were used to determine whether the discharge has a reasonable potential to exceed the criteria.  The analyses used the hardness of the discharge in the calculation of water quality criteria for pollutants that have hardness dependent criteria (some metals).  (An additional analysis was performed to assess the impact of these metals as the effluent plume mixes with the lower hardness of the Willamette River water.  This analysis determined that the effluent as characterized and when meeting the permit effluent limits will not cause or contribute to metals criteria exceedances.)  To address the limited amount of data from the pilot system, multipliers were applied to the data to estimate the maximum potential values of the pollutant concentrations in the effluent of the final treatment plant.

The results of these analyses are presented in Attachment A for aquatic life criteria and Attachment B for human health criteria.  These results indicate that the discharge has a reasonable potential to exceed water quality criteria for benzo(a)anthracene, benzo(a)pyrene, copper, dibenzo(a,h)anthracene, indeno(1,2,3-cd)pyrene,  iron,  lead, mercury and total cyanide.

Toxics Effluent Limitations

For the parameters that have a reasonable potential to exceed water quality standards, effluent limitations were calculated using another spreadsheet that uses the approach outlined in EPA’s Technical Support Document for Water Quality Based Toxics (EPA March 1991).  Attachments C & D include the spreadsheets that calculate the effluent limits for these parameters.  The calculated effluent limits, with the exception of the limits for total cyanide, are listed in Table 7, below. (Total cyanide is discussed in the following section.)  It should be noted that several of these calculated limits are well below the ability of approved wastewater analytic methods to quantify.  This issue is addressed in Section 6.2, below.

| Table 7: Calculated Toxics Effluent Limits |  |  |
| --- | --- | --- |
| Parameter | Monthly Ave. (µg/L) | Daily Max (µg/L) |
| Benzo(a)anthracene | 0.0038 | 0.0076 |
| Benzo(a)pyrene | 0.0038 | 0.0076 |
| Copper | 15 | 30 |
| Dibenzo(a,h)anthracene | 0.0038 | 0.0076 |
| Indeno(1,2,3-cd)pyrene | 0.0038 | 0.0076 |
| Iron | 820 | 1600 |
| Lead | 3.8 | 7.6 |
| Mercury | 0.010 | 0.020 |

Since the lead water quality criterion is expressed as the dissolved metal, the lead limit presented in Table 7 is also given as the dissolved metal.  Under NPDES permitting regulations, permit effluent limitations (except in specific instances) are required to be expressed as the total recoverable metal.  A translator is often used to calculate a total recoverable value from the dissolved value.  For this facility, we lack the necessary data that would allow a site-specific translator to be calculated.    A conservative default translator of “1” was used to develop the total recoverable lead effluent limitations of 3.8 µg/L (monthly average) and 7.6 µg/L (daily maximum).

Total Cyanide

As discussed in Section 3.4 of this report, there is the potential that the treated effluent, even after the treatment system has been fully optimized, may not be able to consistently meet the total cyanide limit calculated without a mixing zone.  The proposed permit includes a conditional mixing zone (further discussed in Section 6.2, below).  To account for the dilution occurring within the mixing zone, a second spreadsheet analysis (also in Attachment D) was utilized to determine the total cyanide limits that would apply when the mixing zone is effective.  The total cyanide limits applicable with a mixing zone and without a mixing zone are presented below.

| Table 8: Calculated Total Cyanide Toxics Effluent Limits |  |  |
| --- | --- | --- |
| Parameter | Monthly Ave. (µg/L) | Daily Max (µg/L) |
| Total Cyanide (with Mixing Zone) | 510 | 1000 |
| Total Cyanide (without Mixing Zone) | 130 | 260 |

The proposed permit allows for the use of the mixing zone (and applies the higher total cyanide limits) upon permit issuance.  The continued use of the mixing zone is contingent on the demonstration by the permittee that the more stringent limits cannot be met even after the final treatment system has been optimized. For a more detailed discussion regarding the applicability of the mixing zone (and the corresponding effluent limits), please see Section 6.2, below.

4.4 Antidegradation

An Antidegradation Review was performed for this discharge. Based on the antidegradation review, the Department determined the proposed discharge complies with the Antidegradation Policy for Surface Waters found in OAR 340-041-0026 (see Attachment E).

5.0 Compliance History

Since this facility is applying for its first NPDES permit, no NPDES compliance history exists.

6.0 Draft Permit Discussion

6.1  Face Page

The face page provides information about the permittee, description of the wastewater, the outfall location, receiving stream information, permit approval authority, and a description of permitted activities.  The permittee is authorized to construct, install, modify, or operate a wastewater collection, treatment, control and disposal system.  The permit allows the discharge of treated groundwater and stormwater to the Willamette River within the limits set by Schedule A and the following schedules.  All other polluted discharges are prohibited unless authorized under a separate permit.

6.2  Schedule A - Waste Discharge Limits

The waste discharge limits for outfall 001 are presented in Table 9, below.  For parameters with calculated effluent limits below the appropriate quantitation limit, it is noted that compliance is demonstrated by not exceeding the quantitation limit.

As discussed in Section 3.4 of this report, the proposed permit temporarily allocates a mixing zone for total cyanide 18–feet wide and 6-feet long.  The continued use of the mixing zone will only be approved if the permittee adequately demonstrates that the total cyanide limitations (based on the chronic 130 ug/L criterion) cannot be met following optimization of the treatment system.  Condition A.2. of the proposed permit defines the mixing zone as that portion of the Willamette River 18-feet wide and 6-feet long, centered on the outfall’s diffuser.  The notes to Table A.1 of the proposed permit also contain the following language regarding the use of the mixing zone:

The interim total cyanide limits are effective upon permit issuance.  The applicable final total cyanide limits will become effective 180 days following Department approval or disapproval of the continued utilization of the mixing zone for total cyanide (defined below).  If the Department approves the continued utilization of the total cyanide mixing zone, the final total cyanide limits of 510 µg/L (monthly avg.) and 1000 µg/L (daily max.) will be applicable will be applicable.  If the Department disapproves the continued utilization of the total cyanide mixing zone, the final total cyanide limits of 130 µg/L (monthly avg.) and 260 µg/L (daily max.) will be applicable.  Department approval will be contingent on the demonstration by the permittee that the total cyanide limitations of 130 µg/L (monthly avg.) and 260 µg/L (daily max.) were not able to be met following optimization of the treatment system  (which will include the evaluation of both sodium hypochlorite and hydrogen peroxide cyanide destruction processes).  At a minimum, this demonstration must consist of a report submitted to the Department within 18 months following the date of initial discharge under this permit. This report must contain the following elements:

- A description of all elements undertaken by the permittee to ensure operational optimization of the treatment system.

- A description of treatment system design modifications implemented and/or evaluated to minimize total cyanide concentrations in the effluent.

- Monitoring data demonstrating that effluent quality, following system design and operational optimization, necessitates utilization of a mixing zone.

The interim and final total cyanide limits in the proposed permit, along with limits for the other parameters requiring limits (see Section 4, above) are presented in Table 9, below.

| Table 9: Proposed Treated Effluent Limits for Outfall 001 |  |  |
| --- | --- | --- |
| Parameter | Monthly Ave. (µg/L) | Daily Max (µg/L) |
| Benzo(a)anthracene | Calculated limit is 0.0038 µg/L; Compliance will be demonstrated by not exceeding the Quantitation Limit of 1 µg/L | Calculated limit is 0.0076 µg/L; Compliance will be demonstrated by not exceeding the Quantitation Limit of 1 µg/L |
| Benzo(a)pyrene | Calculated limit is 0.0038 µg/L; Compliance will be demonstrated by not exceeding the Quantitation Limit of 1 µg/L | Calculated limit is 0.0076 µg/L; Compliance will be demonstrated by not exceeding the Quantitation Limit of 1 µg/L |
| Copper (total) | 15 | 30 |
| Dibenzo(a,h)anthracene | Calculated limit is 0.0038 µg/L; Compliance will be demonstrated by not exceeding the Quantitation Limit of 1 µg/L | Calculated limit is 0.0076 µg/L; Compliance will be demonstrated by not exceeding the Quantitation Limit of 1 µg/L |
| Indeno(1,2,3-cd)pyrene | Calculated limit is 0.0038 µg/L; Compliance will be demonstrated by not exceeding the Quantitation Limit of 1 µg/L | Calculated limit is 0.0076 µg/L; Compliance will be demonstrated by not exceeding the Quantitation Limit of 1 µg/L |
| Iron (total) | 820 | 1600 |
| Lead (total) | Calculated limit is 3.8 µg/L; Compliance will be demonstrated by not exceeding the Quantitation Limit of 5 µg/L | 7.6 |
| Mercury (total) | 0.010 | 0.020 |
| pH | Within the range of 6.5 – 8.5 |  |
| Total Cyanide (Interim) | 510 | 1000 |
| Total Cyanide (Final) | 130 | 260 |
|  | 510 | 1000 |

6.3  Schedule B - Minimum Monitoring and Reporting Requirements

Schedule B includes the minimum monitoring and reporting requirements for the facility. The parameters listed include the pollutants of concern detailed in Section 4.3.1, above.  Two tables are included in the proposed permit. Table 10, below (Table B1 in the proposed permit) specifies monitoring requirements related to compliance with the effluent limits established in Schedule A.  Table 11 (on the following pages and presented as Table B2 in the proposed permit) specifies the monitoring requirements that will help further characterize the effluent for future analyses (including permit renewal).

| Table 10: Proposed Outfall 001 Compliance Monitoring Requirements |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Parameter | CAS1 | QL2 | Minimum Frequency4 | Sample Type/Action | Report |
| Benz(a)anthracene | 56553 | 1.0 | 1/Week, when discharging | 24-hour Composite | - Daily values - Monthly average - Maximum daily value |
| Benzo(a)pyrene | 50328 | 1.0 | 1/Week, when discharging | 24-hour Composite | Same as above |
| Copper3 | 7440508 | 10 | 1/Week, when discharging | 24-hour Composite | Same as above |
| Dibenzo(a,h)anthracene | 53703 | 1.0 | 1/Week, when discharging | 24-hour Composite | Same as above |
| Indeno(1,2,3-cd)pyrene | 193395 | 1.0 | 1/Week, when discharging | 24-hour Composite | Same as above |
| Iron3 | 7439896 | 100 | 1/Week, when discharging | 24-hour Composite | Same as above |
| Lead3 | 7439921 | 5 | 1/Week, when discharging | 24-hour Composite | Same as above |
| Mercury3 | 7439976 | 0.005 | 1/Week, when discharging | 24-hour Composite | Same as above |
| pH | N/A | - | 1/Week, when discharging | Grab | Same as above |
| Total Cyanide | 57125 | 5.0 | 1/Week, when discharging | See Note 5 | Same as above |

Table 10 Notes (included in the proposed permit):

- Chemical Abstract Service

- Some QL’s may need methods with modification allowed by EPA’s Solutions for Analytical Chemistry Problems w/Clean Water Methods, March 2007.  The units for the QL’s shown are µg/L.

- Total Recoverable

- Monitoring is only required during weeks when discharges occur.

- When sampling for Cyanide, at least six discrete grab samples must be collected over the operating day with samples collected no less than one hour apart. The aliquot must be at least 100 mL and collected and composited into a larger container that has been preserved with sodium hydroxide to insure sample integrity.

| Table 11: Proposed Outfall 001 Characterization Monitoring Requirements |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Parameter | CAS1 | QL2 | Minimum Frequency | Sample Type/Action | Report |
| Volume Discharged | N/A | - | Daily, when discharging | Metering | - Daily values - Monthly average - Maximum daily value |
| Temperature | N/A | - | Daily, when discharging | Recorder | - Daily values - Maximum daily value - 7 day moving average of daily maxima (7 DADM) - Maximum 7 DADM |
| Outfall Pipe | N/A | - | Annual | Inspection | Narrative report of outfall condition |
| Hardness | N/A | - | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Free Cyanide | 57125 | 10 | 1/Quarter, when discharging | See Note 7 | Daily Values |
| Available Cyanide | 57125 | - | 1/Quarter, when discharging | See Note 7 | Daily Values |
| PAHs |  |  |  |  |  |
| Acenaphthene | 83329 | 1.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Acenaphthylene | 208968 | 1.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Anthracene | 120127 | 1.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Benzo(b)flouranthene 3,4 | 205992 | 1.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Benzo(k)flouranthene | 207089 | 1.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Benzo(g,h,i)perylene | 191242 | 1.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Carbazole | 86748 | - | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Chrysene | 218019 | 1.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Dibenzofuran | 132649 | - | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Flouranthene | 206440 | 2.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Flourene | 86737 | 1.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| 2-Methlynaphthalene | 91576 | - | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Naphthalene | 91203 | 1.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Phenanthrene | 85018 | - | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Pyrene | 129000 | 1.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Metals |  |  |  |  |  |
| Arsenic (inorganic) 4 | 7440382 | 1.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Cadmium3 | 7440439 | 0.10 | 1/Week, when discharging | 24-hour Composite | Daily Values |
| Chromium (total) 3,5 | 7440473 | 0.4 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Chromium III 5,6 | 16065831 | 10 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Chromium VI 5,6 | 18540299 | 10 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Nickel 6 | 7440020 | 10 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Selenium 3 | 7782492 | 2.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Silver 6 | 7440224 | 1.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Zinc 6 | 7440666 | 5.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |

| Table 11: Proposed Outfall 001 Characterization Monitoring Requirements (Continued) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Parameter | CAS1 | QL2 | Minimum Frequency | Sample Type | Report |
| VOCs |  |  |  |  |  |
| Acetone | 67641 | - | 1/Quarter, when discharging | See Note 8 | Daily Values |
| Benzene | 71432 | 0.50 | 1/Quarter, when discharging | See Note 8 | Daily Values |
| 2-Butanone | 78933 | - | 1/Quarter, when discharging | See Note 8 | Daily Values |
| Dichloroethylene 1,1 | 75354 | 0.50 | 1/Quarter, when discharging | See Note 8 | Daily Values |
| Dichloroethylene trans 1,2 | 156605 | 0.50 | 1/Quarter, when discharging | See Note 8 | Daily Values |
| Ethylbenzene | 100414 | 0.50 | 1/Quarter, when discharging | See Note 8 | Daily Values |
| Tetrachloroethylene | 127184 | 0.50 | 1/Quarter, when discharging | See Note 8 | Daily Values |
| Toluene | 108883 | 0.50 | 1/Quarter, when discharging | See Note 8 | Daily Values |
| Trichloroethylene | 79016 | 0.50 | 1/Quarter, when discharging | See Note 8 | Daily Values |
| 1,2,4-Trimethylbenzene | 95636 | - | 1/Quarter, when discharging | See Note 8 | Daily Values |
| 1,3,5-Trimethylbenzene | 108678 | - | 1/Quarter, when discharging | See Note 8 | Daily Values |
| Vinyl chloride | 75014 | 0.50 | 1/Quarter, when discharging | See Note 8 | Daily Values |
| Xylene | - | - | 1/Quarter, when discharging | See Note 8 | Daily Values |
| Phenols |  |  |  |  |  |
| Chlorophenol 2 | 95578 | 1.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Dichlorophenol 2,4 | 120832 | 1.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Dimethylphenol 2,4 | 105679 | 5.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Methyl-4,6-Dinitrophenol 2 | 534521 | 2.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| 2-methylphenol | 95487 | - | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| 2-nitrophenol | 88755 | 2.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| 4-nitrophenol | 100027 | 5.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Pentachlorophenol | 87865 | 2.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| Phenol | 108952 | 1.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| 2,4,5-Trichlorophenol | 95954 | 2.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |
| 2,4,6-Trichlorophenol | 88062 | 1.0 | 1/Quarter, when discharging | 24-hour Composite | Daily Values |

# Table 11 Notes (included in the proposed permit):

- Chemical Abstract Service

- Some QL’s may need methods with modification allowed by EPA’s Solutions for Analytical Chemistry Problems w/Clean Water Methods, March 2007.  The units for the QL’s shown are µg/L.

- Total Recoverable

- Arsenic Methods: Measurement of Total Arsenic meets the requirement for Inorganic Arsenic as long as the Total Arsenic is < 1.0 µg/L (the QL for Inorganic Arsenic).  Otherwise, Method 1632A should be used to monitor for Inorganic Arsenic.

- Chromium Methods: Measurement of Total Chromium meets the requirement for Chromium III and Chromium VI as long as the Total Chromium result is < 10 µg/L.

- Total Recoverable and Dissolved

- When sampling for Cyanide, at least six discrete grab samples must be collected over the operating day with samples collected no less than one hour apart. The aliquot must be at least 100 mL and collected and composited into a larger container that has been preserved with sodium hydroxide to insure sample integrity.

- When sampling for VOCs six discrete samples (not less than 40 mL) must be collected over the operating day at intervals of at least one hour.  The samples may be analyzed separately or composited.  If analyzed separately, the analytical results for all samples must be averaged for reporting purposes.  If composited, they must be proportionally composited in the laboratory at the time of analysis and this must be done in a manner that maintains the integrity of the samples and prevents the loss of volatile analytes. The quantitation limits listed above remain in effect for composite samples.

Schedule B of the proposed permit also includes a table (Table B3 in the permit) specifying the permit’s minimum report requirements and due dates (Table 12, below).

| Table 12: Minimum Reporting Requirements and Due Dates |  |  |  |  |
| --- | --- | --- | --- | --- |
| Reporting Requirement | Frequency | Due Date | Report Form (unless otherwise specified in writing) | Submit To: |
| Table B.1: Outfall 001 Compliance Monitoring | Monthly | 15th day of the month following data collection | DEQ-approved discharge monitoring report (DMR) form. (See Note) | DEQ Regional Office, Water Quality Program |
| Table B.2: Outfall 001 Characterization Monitoring | Quarterly |  | 1 hard copy and 1 electronic copy | DEQ Regional Office, Water Quality Program |
| Total Cyanide Report (as described in Condition A.1) | One time – Submission is at the discretion of the permittee | Within 18 months of the first discharge under this permit | 1 hard copy and 1 electronic copy | DEQ Regional Office, Water Quality Program |
| Note: Treatment system breakdowns and any bypass events must be noted on DMRs. |  |  |  |  |

6.4  Schedule D - Special Conditions

Schedule D of the proposed permit includes a special condition requiring the permittee to develop and implement a spill/emergency response plan.

6.5  Schedule F - NPDES General Conditions

These conditions are standard to all NPDES permits and include language regarding operation and maintenance of facilities, monitoring and record keeping, and reporting requirements. The General Conditions were revised in 2010. A summary of the changes included in the revised conditions is as follows:

- There are additional citations to the federal Clean Water Act and CFR, including references to standards for sewage sludge use or disposal.

- There is additional language regarding federal penalties.

- Bypass language has been made consistent with the CFR.

- Overflow language has been eliminated.

- Requirements regarding emergency response and public notification plans have been made more explicit.

- Language pertaining to duty to provide information has been made more explicit.

- Confidentiality of information is addressed.

- A definition of CBOD has been added.

7.0 Next Steps

7.1	Public Comment Period

The proposed NPDES permit and this evaluation report will be made available for public comment.  A public notice of the proposed permit will be mailed to parties on the Department’s public notice mailing lists (WQ: PN (public notice) State, WQ: Multnomah County, and WQ: All Permits).  To be included on the Department’s mailing list, please visit our website at: http://www.deq.state.or.us/news/publicnotices/PN.asp and select the link “Sign up to get DEQ info by e-mail” on the left side of the page.

7.2	Response to Comments

The Department will respond to comments received during the comment period.  All those providing comment will receive a copy of the Department’s response.  Interested parties may also request a copy of the Department’s response.  Once comments are received and evaluated, the Department will decide whether to issue the permit as proposed or make changes to the permit or deny the permit.

7.3    Modifications to Fact Sheet and Permit Evaluation Report

Depending on the nature of comment and any changes made to the proposed permit modification as result of comment, this fact sheet/evaluation report may be modified.  The Department may also choose to update the fact sheet/evaluation report through a response to comments.

#### Attachment E:  NW Natural (Gasco) Antidegradation Review Sheet

ANTIDEGRADATION REVIEW SHEET

FOR A PROPOSED INDIVIDUAL NPDES DISCHARGE

1.	What is the name of Surface Water that receives the discharge? Willamette River

Briefly describe the proposed activity:  The application is for a new NPDES permit to discharge treated groundwater to the Willamette River.  The untreated groundwater has been contaminated by past industrial activities on this and adjacent sites.  Currently, the contaminated groundwater is discharging via subsurface flow.  The proposed activity will intercept this water, treat it to levels required under the NPDES permit, and discharge it to the river.

Is this review for a   renewal   OR    new    (circle one) permit application?

Go to Step 2.

2.	Is this surface water an Outstanding Resource Water or upstream from an Outstanding Resource Water?

Yes.	Go to Step 5.

No.	Go to Step 3.

3.	Is this surface water a High Quality Water?

Yes.	Go to Step 8.

No.	Go to Step 4.

4.	Is this surface water a Water Quality Limited Water?

Yes.	Go to Step 14.

No.	Go to Step 2.  Note: The surface water must fall into one of three (3) categories: Outstanding Resource Water (Step 2), High Quality Water (Step 3), or Water Quality Limited Water (Step 4).

14.	Will the proposed activity result in a Lowering of Water Quality in the Water Quality Limited Water?  [see OAR 340-041-0004(3)-(5) for a description in rule of discharges that do not result in lowering of water quality or do not constitute a new and/or increased discharge or are otherwise exempt from antidegradation review; otherwise see “Is an Activity Likely to Lower Water Quality?” in Antidegradation Policy Implementation Internal Management Directive for NPDES Permits and Section 401 Water Quality Certifications.]

Yes.	Go to Step 15.

No.	Proceed with Permit Application.  Applicant should provide basis for conclusion. Go to Step 21.

21.	On the basis of the Antidegradation Review, the following is recommended:

X   	Proceed with Application to Interagency Coordination and Public Comment Phase.

____	Deny Application; return to applicant and provide public notice.

Action Approved

Section:			____NWR WQ Source Control_____

Review Prepared By:			Rob Burkhart

Phone: 				503-229-5566

Date Prepared: 		______August 9, 2011  ___________

#### Attachment F:  NW Natural (Gasco) Mixing Zone Checklist

Certain discharges (primarily stormwater) from the other properties on the former Gasco site are regulated under separate NPDES permits.  These are listed in Section 2.3 of this report.

A mixing zone for this discharge and of this size in the lower Willamette River meets the Departmental requirements and guidelines. A “permit writer’s checklist” related to the mixing zone is included in Attachment F.

Many of the toxic pollutants discussed in this report have more than one common name.  Within this report and in the proposed permit, these pollutants will primarily be called by the names as they are listed within Oregon’s water quality standards (OAR 340-041 Tables 20, 33A, 33B and 41).

The “excess thermal load” is based on the effluent flow volume and the effluent temperature above the relevant criterion.