## Slide 1: GROUNDWATER SOURCE CONTROL OVERVIEW NW Natural “Gasco” Site and Siltronic Corporation Facility
May 23, 2013

## Slide 2: NW Natural & Siltronic Properties

## Slide 3: Former Gasco MGP & Siltronic Site Background
NW Natural and Siltronic properties occupy approximately 45 and 85 acres, respectively
Properties are located between river mile 6 and 7.5
NW Natural (then known as Portland Gas & Coke [PG&C]) operated the Gasco MGP from 1912 until 1956, including using the northern portion of the Siltronic Property as an effluent overflow pond
During plant’s operational life, nearly 3 billion gallons of heavy residual fuel oil were processed into approximately 300 billion cubic feet of gas for heating and lighting Portland
Site produced MGP waste was placed in piles (lampblack, spent oxide, and gas purifier piles) and discharged to ponds (effluent discharge, settling, storage, and overflow ponds) located in non-production areas

## Slide 4: Former Gasco MGP & Siltronic Site Background (cont.)
Siltronic Corporation (then Wacker Siltronic) purchased the property in 1978 for purposes of silcon-wafer manufacturing which commenced in 1980
Trichloroethene (TCE) was used from 1980-1984 during steps in the silicon wafer etching/lapping process
From 1980-1984 approximately 760,000 lbs of TCE was used annually
TCE was managed in a solvent underground storage tank system (Former TCE UST System)
Releases from the Former TCE UST System have contaminated groundwater beneath the property and commingled with MGP waste and contamination in the northern portion of Siltronic property

## Slide 5: Gasco MGP Site, mid 1950’s

## Slide 6: Historic Operations and Upland Source Areas of MGP Contamination

## Slide 7: Naphthalene (ug/L, looking towards river)

## Slide 8: Total Cyanide (ug/L, looking towards river)

## Slide 9: Total Cyanide (ug/L, looking downstream)

## Slide 10: Siltronic Current Operations & VOC Plume

## Slide 11: Upland COIs
NW Natural – PAHs, BTEX and TMBs, Acid Extractables & Phenolics (e.g., carbazole, dibenzofuran, 2-methylnaphthalene, phenol), metals (As, Cd Cr, Cu, Pb, Ni, Va, Zn), Total & Free CN
Siltronic – TCE, cis-1,2-DCE, trans-1,2-DCE, 1,1-DCE, vinyl chloride
Depending on location and media, COIs generally exceed JSCS SLVs by factors greater than 10 to 1000 or more

## Slide 12: Groundwater Source Control - Shoreline Segments 1 and 2

## Slide 13: Groundwater Source Control - Shoreline Segment 1 & 2 (cont.)
The shoreline of the former Gasco site and the northern portion of the Siltronic Property were identified as high priorities for source control and divided into two segments:
Segment 1: Coincides with the heaviest MGP-related impacts identified near the river, including DNAPLs, impacted riverbank soils, and contaminated groundwater
  Also includes groundwater contamination caused by Siltronic that has commingled with MGP-related DNAPL and groundwater contamination
Segment 2: Extends downstream to the property line with US Moorings, identified as a high priority based on concentrations of MGP chemicals of interest (COI), particularly cyanide, in riverbank soils and groundwater.

## Slide 14: Groundwater Source Control RAOs
Prevent migration of contaminated groundwater from the uplands to the Willamette River along shoreline segments 1 and 2; and
Minimize potential DNAPL mobilization resulting from operating groundwater SCMs along the portion of Segment 1 where DNAPLs occurs.

## Slide 15: Groundwater SCMs
Fill WBZ, Segments 1 & 2 – current preferred alternative is a fully-penetrating interceptor trench
Alluvium WBZ, Segments 1 & 2 - hydraulic control/containment (HC&C) of contaminated groundwater
Alluvium WBZ, portion of Segment 1 where DNAPL occurs) –upper tier of gradient control/offset wells
Groundwater treatment and discharge
Riverbank SCMs
Riverbank soils SCMs (e.g., repair, stabilization, and removal) will be designed and implemented during in-water sediment action under EPA oversight

## Slide 16: Alluvium WBZ HC&C System

## Slide 17: Alluvium WBZ HC&C System (cont.)

## Slide 18: Alluvium WBZ HC&C System (cont.)

## Slide 19: Alluvium WBZ HC&C System – Capture Zone

## Slide 20: Alluvium WBZ HC&C System – Capture Zone (vertical)

## Slide 21: Treatment System Process Flow Diagram

## Slide 22: Groundwater Source Control Implementation
Final design process initiated in the winter of 2011 and completed in early fall 2012
Extraction wells and performance monitoring wells in place
Treatment system building and piping under construction
Initial testing phase anticipated for late-summer/early-fall
Initial testing phase will transition into a long-term testing period with full-time operation to follow

## Slide 23: In-water Sediment Project Area

## Slide 24: Benzo(a)pyrene (ug/L)

## Slide 25: Free Cyanide (ug/L)

## Slide 26: Copper (ug/L)

## Slide 27: Lead (ug/L)

## Slide 28: Iron (ug/L)