### TABLES

| Well Name | Remedy Zone | PMX No. | Aquifer | Installed/ Completed Date | Decommission Date | Well Included in 2018 EMC Well Network (Yes/No) |
| --- | --- | --- | --- | --- | --- | --- |
| A-1d (Supply Well) | Zone B | -- | TSA | 03/16/1976 | 08/01/2000 | No |
| A-2d (Supply Well) | Zone B | -- | TSA | 08/26/1964 | 07/01/1988 | No |
| A-3 (Supply Well) | Zone B | -- | TSA | 03/12/1957 | 06/01/1989 | No |
| A-4 (Supply Well) | Zone B | -- | TSA | 10/11/1961 | 06/29/2004 | No |
| A-5d (Supply Well) | Zone B | 555 | TSA | 01/25/1971 | -- | No |
| A-6 (Supply Well) | Zone B | -- | TSA | 06/01/1989 | 07/15/2004 | No |
| A-7 (Supply Well) | Zone B | -- | TSA | 05/14/1986 | 03/01/1990 | No |
| BOP-13(dg) | Zone C | -- | TSA | 1/4/1987 | -- | Yes |
| BOP-13(ds) | Zone C | 465 | TSA | 10/26/1993 | -- | Yes |
| BOP-14d | Zone C | -- | TSA Cong | 12/08/1986 | 03/12/1990 | No |
| BOP-14s | Zone C | -- | TSA SS | 02/12/1987 | 03/12/1990 | No |
| BOP-20(dg) | Zone B | 515 | TSA | 3/11/1989 | -- | Yes |
| BOP-20(ds) | Zone B | 516 | TSA | 16-Mar-89 | -- | Yes |
| BOP-21(dg) | Zone B | -- | TSA | 06-Mar-89 | 06/2000 | No |
| BOP-21(ds) | Zone B | 519 | TSA | 12-Mar-89 | -- | Yes |
| BOP-22(dg) | Zone B | -- | TSA | 05-Mar-89 | 10/21/2016 | No |
| BOP-22(ds) | Zone B | -- | TSA | 13-Mar-89 | 01/05/2009 | No |
| BOP-22R(ds) | Zone B | -- | TSA | 14-Oct-08 | 11/17/2019 | Yes |
| BOP-23(dg) | Zone C | 522 | TSA | 02-Feb-90 | -- | Yes |
| BOP-23(ds) | Zone C | -- | TSA | 10-Mar-10 | 03/10/2010 | No |
| BOP-31(dg) | Zone C | 528 | TSA | 16-Jan-91 | -- | Yes |
| BOP-31(ds) | Zone C | 526 | TSA | 09-Jan-91 | -- | Yes |
| BOP-41(dg) | Zone B | 542 | TSA | 04-Feb-92 | 11/01/2015 | No |
| BOP-41(ds) | Zone B | 543 | TSA | 27-Jan-92 | 11/01/2015 | No |
| BOP-42(dg) | Zone B | 544 | TSA | 05-Feb-92 | -- | Yes |
| BOP-42(ds) | Zone B | 545 | TSA | 07-Feb-93 | -- | Yes |
| BOP-43(dg) | Zone A | 546 | TSA | 17-Apr-92 | 09/06/2012 | No |
| BOP-43(ds) | Zone A | 547 | TSA | 22-Apr-92 | 09/05/2012 | No |
| BOP-44(dg) | Zone A | 592 | TSA | 01-Aug-07 | pending | Yes |
| BOP-44(ds) | Zone A | 591 | TSA | 01-Aug-07 | pending | Yes |
| BOP-44(usg) | Zone A | -- | SGA | 01-Aug-07 | pending | Yes |
| BOP-60(dg) | Zone B | 455 | TSA | 18-Apr-94 | -- | Yes |
| BOP-60(ds) | Zone B | -- | TSA | 09-May-94 | 03/30/2010 | No |
| BOP-60R(ds) | Zone B | -- | TSA | 03-Mar-10 | 11/17/2019 | Yes |
| BOP-61(dg) | Zone B | 457 | TSA | 24-Jun-94 | -- | Yes |
| BOP-61(ds) | Zone B | 456 | TSA | 31-May-94 | -- | Yes |
| BOP-62(ds) | Zone B | 458 | TSA | 15-Mar-94 | -- | Yes |
| BOP-63(ds) | Zone B | -- | TSA | 13-Jul-94 | 06/2000 | No |
| BOP-64(ds) | Zone B | -- | TSA | 03/22/1994 | 06/2000 | No |
| BOP-65(ds) | Zone B | 461 | TSA | 07/05/1994 | -- | Yes |
| BOP-66(ds) | Zone B | 462 | TSA | 05/17/1994 | -- | Yes |
| BOP-67(ds) | Zone B | -- | TSA | 02/02/1995 | 06/2000 | No |
| BOP-68(usg) | -- | -- | SGA | 05/08/1995 | 09/06/2012 | No |
| BOP-69(usg) | -- | -- | CU2/SGA | 07/01/1997 | 05/24/2012 | No |
| BOP-70(ds-215) | Zone A | -- | TSA | 03/29/2007 | 10/30/2018 | No |
| BOP-70(ds-245) | Zone A | -- | TSA | 03/29/2007 | 10/30/2018 | No |
| BOP-70(ds-275) | Zone A | -- | TSA | 03/29/2007 | 10/30/2018 | No |
| BOP-71(ds) | Zone A | -- | TSA | 03/01/2007 | pending | No |
| C-3/PW7 | -- | 136 | SGA | 11/24/1981 | PW | No |
| Cascade Industrial Well (Supply Well) | Zone C | -- | TSA | 10/26/1964 | 01/01/1991 | No |
| D-15(dg) | Zone A | 590 | TSA | 02/04/1993 | 03/01/2010 | No |
| D-15(ds) | Zone A | 589 | TSA | 02/09/1993 | 03/01/2010 | No |
| D-16(dg) | Zone A | 594 | TSA | 08/10/1993 | 10/02/2018 | No |

| Well Name | Remedy Zone | PMX No. | Aquifer | Installed/ Completed Date | Decommission Date | Well Included in 2018 EMC Well Network (Yes/No) |
| --- | --- | --- | --- | --- | --- | --- |
| D-16(ds) | Zone A | 593 | TSA | 09/02/1993 | 10/01/2018 | No |
| D-17(dg) | Zone C | 467 | TSA | 11/17/1993 | -- | Yes |
| D-17(ds) | Zone C | 466 | TSA | 11/12/1993 | -- | Yes |
| D-18(dg) | Zone A | -- | TSA | 04/13/1995 | 03/02/2010 | No |
| D-18(ds) | Zone A | -- | TSA SS | 04/19/1995 | 10/10/2018 | No |
| DEQ-1(dg) | Zone C | 902 | TSA | 10/25/1990 | 07/11/2019 | Yes |
| DEQ-1(ds) | Zone C | 901 | TSA | 09/17/1990 | 03/02/2010 | No |
| DEQ-3(d) | -- | 905 | SGA | 10/25/1990 | 10/18/2006 | No |
| DEQ-3(i) | Zone A | 904 | TSA | 10/31/1990 | 10/18/2006 | No |
| DEQ-3(s) | Zone A | -- | TSA | 09/06/1990 | 05/1998 | No |
| DEQ-3(usg) | -- | -- | SGA | 11/27/1996 | 10/18/2006 | No |
| DEQ-4(d) | -- | 907 | SGA | 09/24/1990 | 08/03/1999 | No |
| DEQ-4(s) | Zone A | 906 | TSA | 09/14/1990 | 08/03/1999 | No |
| DEQ-5(dg) | Zone B | 910 | TSA | 03/16/1993 | 07/10/2019 | Yes |
| DEQ-5(ds) | Zone B | 909 | TSA | 03/29/1993 | 07/10/2019 | Yes |
| EMC-1(dg) | Zone A | 912 | TSA | 02/12/1993 | 03/15/2000 | No |
| EMC-1(ds) | Zone A | 911 | TSA | 02/24/1993 | 03/15/2000 | No |
| EMC-2(dg) | Zone A | 914 | TSA | 05/28/1993 | pending | Yes |
| EMC-2(ds) | Zone A | 913 | TSA | 06/03/1993 | 03/02/2010 | No |
| EMC-2(usg) | -- | -- | SGA | 09/11/1997 | 04/27/2017 | No |
| EW-1 | Zone C | -- | TSA | 12/07/1996 | -- | Yes |
| EW-10 [PMX-189] | Zone A | 189 | TSA | 08/25/1950 | 05/2005 | No |
| EW-11 | Zone C/D | -- | TSA | 01/23/1998 | -- | Yes |
| EW-12 | Zone C | -- | TSA | 06/26/1997 | -- | Yes |
| EW-13 | Zone B | -- | TSA | 11/25/1997 | -- | Yes |
| EW-14 | Zone C | -- | TSA | 11/13/1997 | -- | Yes |
| EW-15 | Zone D | -- | TSA | 07/16/1998 | -- | Yes |
| EW-16 | Zone D | -- | TSA Cong & CU2 | 10/21/1997 | -- | Yes |
| EW-17 | Zone A | -- | TSA | 02/11/1998 | 10/23/2008 | No |
| EW-18 | Zone C/D | -- | TSA | 05/08/1998 | 11/20/2015 | No |
| EW-19 | Zone A | -- | TSA | 11/24/1997 | 10/23/2008 | No |
| EW-2 | Zone C | -- | TSA | 09/23/1996 | -- | Yes |
| EW-20(usg) | -- | -- | CU2 Equiv & Upper | 05/27/1998 | 10/18/2006 | No |
| EW-21 [PMX-417] | Zone D | 417 | TSA | 02/02/1983 | PW | No |
| EW-22 | Zone B | -- | TSA | 06/12/2003 | 03/26/2010 | No |
| EW-23 | Zone B/C | -- | Lower TSA | 01/23/2007 | -- | Yes |
| EW-3 | Zone B | -- | TSA | 10/28/1996 | -- | Yes |
| EW-6 | Zone A | -- | TSA | 05/12/1997 | 10/18/2006 | No |
| EW-7 | Zone A | -- | TSA | 05/07/1997 | 10/23/2008 | No |
| EW-8 | Zone C | -- | TSA | 06/10/1997 | -- | Yes |
| EW-9 | Zone A | -- | TSA | 05/20/1997 | 10/23/2008 | No |
| MW-10(dg) | Zone C | 816 | TSA | 05/14/1990 | pending | Yes |
| MW-10(ds) | Zone C | 821 | TSA | 12/26/1990 | -- | Yes |
| MW-14(dg) | Zone C | 825 | TSA | 12/14/1990 | 03/2007 | No |
| MW-14(ds) | Zone C | 826 | TSA | 12/11/1990 | 03/2007 | No |
| MW-14(usg) | -- | -- | SGA | 10/27/1995 | 03/13/2007 | No |
| MW-14R(dg) | Zone C | -- | TSA | 02/06/2007 | 03/01/2010 | No |
| MW-14R(ds) | Zone C | -- | TSA | 02/07/2007 | -- | Yes |
| MW-16(dg) [EW-4] | Zone D | 831 | TSA | 06/02/1992 | 11/12/2015 | No |
| MW-17(ds) | Zone C | 833 | TSA | 05/06/1992 | -- | Yes |
| MW-18(ds) | Zone C | 834 | TSA | 06/19/1992 | -- | Yes |
| MW-19(ds) | Zone C | 835 | TSA | 06/08/1992 | -- | Yes |
| MW-2 | Zone C | 802 | TSA SS & Cong | 09/11/1988 | 12/11/2000 | No |
| MW-20(dg) | Zone C | 851 | TSA | 01/19/1993 | 03/02/2010 | No |

| Well Name | Remedy Zone | PMX No. | Aquifer | Installed/ Completed Date | Decommission Date | Well Included in 2018 EMC Well Network (Yes/No) |
| --- | --- | --- | --- | --- | --- | --- |
| MW-20(ds) | Zone C | 850 | TSA | 01/22/1993 | -- | Yes |
| MW-22(dg) | Zone C | 855 | TSA | 05/10/1993 | -- | Yes |
| MW-22(ds) | Zone C | 854 | TSA | 05/14/1993 | 03/01/2010 | No |
| MW-23(ds) | Zone C | 836 | TSA | 06/26/1992 | 03/13/2007 | No |
| MW-24(dg) [EW-5] | Zone C | 847 | TSA | 10/07/1992 | -- | Yes |
| MW-25(dg) | Zone C | 848 | TSA | 09/24/1992 | -- | Yes |
| MW-26(dg) | Zone D | -- | TSA | 03/04/1994 | -- | Yes |
| MW-26(ds) | Zone D | 837 | TSA | 03/07/1994 | 11/22/2005 | No |
| MW-29(dg) | Zone D | 866 | TSA | 03/22/1995 | 03/15/2000 | No |
| MW-29(ds) | Zone D | 865 | TSA | 03/01/1995 | 03/01/2010 | No |
| MW-3 | Zone C | 803 | TSA SS & Cong | 10/06/1988 | pending | Yes |
| MW-36(dg) | Zone A/C | -- | TSA | 11/08/1996 | -- | Yes |
| MW-37(usg) | -- | -- | SGA | 12/13/1996 | 03/2007 | No |
| MW-38(usg) | -- | -- | SGA | 09/30/1997 | 03/13/2007 | No |
| MW-41(ds) | Zone A | -- | TSA | 08/28/1998 | 03/02/2010 | No |
| MW-8(dg) | Zone C | 811 | TSA | 04/02/1990 | pending | Yes |
| PMX128 | Zone A | 128 | TSA | 09/10/1980 | 09/02/1987 | No |
| PMX-133 | -- | 133 | BLA | NA | PW | No |
| PMX-135 | -- | 135 | SGA | 08/01/1981 | 06/27/1990 | No |
| PMX138 | Zone A | 138 | TSA | 01/01/1976 | PW | No |
| PMX-140 | -- | 140 | SGA | 07/22/1977 | 12/2000 | No |
| PMX-141 | Zone A | 141 | TSA | 08/29/1977 | PW | No |
| PMX-147 | -- | 147 | BLA | 10/11/1982 | PW | No |
| PMX-165 [E. Interlachen] | Zone A | 165 | TSA | 08/01/1981 | PW | No |
| PMX-166 [W. Interlachen] | -- | 166 | SGA | 07/27/1967 | PW | No |
| PMX-167 [W. Interlachen] | Zone A | 167 | TSA | 08/01/1981 | PW | Yes |
| PMX168 | -- | 168 | TSA | NA | 05/06/1992 | No |
| PMX-170 | -- | 170 | BLA | 10/07/1982 | PW | No |
| PMX-174 [E. Interlachen] | -- | 174 | SGA | 10/17/1967 | PW | No |
| PMX175 | -- | 175 | TSA | NA | PW | No |
| PMX176 | -- | 176 | SGA | 05/30/1956 | PW | No |
| PMX-192 [Pelfrey] | -- | 192 | SGA | 12/12/1959 | PW | No |
| PMX-194 [Schmidt] | -- | 194 | SGA | 05/14/1962 | 06/01/1998 | No |
| PMX-195 [Handy] | -- | 195 | SGA | 12/01/1968 | 07/1998 | No |
| PMX-196 [Andrews] | Zone A | 196 | TSA | 06/25/1982 | PW | No |
| PMX-198 [Udd] | Zone A | 198 | TSA | 03/19/1964 | PW | No |
| PMX-202 [Rolling Hills] | -- | 202 | SGA | 09/27/1971 | PW | No |
| PMX-207 [Shepard] | -- | 207 | SGA | 10/01/1951 | 10/10/1996 | No |
| PMX-208(dg) [Sandy Mobile] | Zone C | 208 | TSA | 07/09/1965 | PW | No |
| PMX-208R [Sandy Mobile] | -- | 208R | SGA | 07/30/1999 | PW | No |
| PMX-225 [Cherry Blossom] | -- | 225 | SGA | 08/30/1967 | 05/29/1997 | No |
| PMX-227 [Rockwood] | -- | 227 | SGA | 12/17/1980 | 01/01/2005 | No |
| PMX235 | -- | 235 | SGA | NA | PW | No |
| PMX239 | -- | 239 | SGA | 01/01/1976 | PW | No |
| PMX-345 [Edwards] | Zone A | 345 | TSA Cong | 12/15/1976 | PW | No |
| PMX-409 [Sandy Mobile] | -- | 409 | SGA | NA | 07/31/1997 | No |
| PMX-410R [Terrand] | -- | 410R | SGA | 06/16/1997 | PW | No |
| PMX-419 [Big Eddy] | Zone A | 419 | TSA | NA | PW | No |
| PMX-434 [Schmautz] | Zone A | 434 | TSA | 03/23/1977 | PW | No |
| PMX60 | -- | 60 | SGA | 09/02/1987 | PW | No |
| PMX66 | -- | 66 | SGA | NA | PW | No |
| PMX72 | -- | 72 | TSA | NA | PW | No |
| PMX78 | -- | 78 | SGA | NA | PW | No |
| PMX8 | -- | 8 | SGA | NA | PW | No |

| Well Name | Remedy Zone | PMX No. | Aquifer | Installed/ Completed Date | Decommission Date | Well Included in 2018 EMC Well Network (Yes/No) |
| --- | --- | --- | --- | --- | --- | --- |
| PW-11 | -- | 12 | SGA | NA | 09/02/1987 | No |
| PW-12 | -- | 150 | BLA | 10/26/1982 | PW | No |
| PW-13 | -- | 162 | BLA | 09/13/1983 | PW | No |
| PW-14 | -- | 132 | SGA | 06/13/1983 | PW | No |
| PW-17 | -- | 148 | BLA | 11/18/1983 | PW | No |
| PW-18 | -- | 155 | BLA | 10/31/1983 | PW | No |
| PW-19 | -- | 158 | BLA | 05/09/1984 | PW | No |
| PW-4 | -- | 122 | SGA | 07/15/1980 | PW | No |
| PW-8 | -- | 142 | SGA | 09/28/1981 | PW | No |
| PW-9 | -- | 126 | SGA | 03/22/1982 | PW | No |
| PWB-1(lts) | Zone A | 392 | TSA | 08/08/1992 | PW | Yes |
| PWB-1(usg) | -- | 393 | SGA | 08/07/1992 | PW | No |
| PWB-1(uts) | Zone A | 391 | TSA | 08/09/1992 | PW | Yes |
| PWB-2(lts) | Zone A | -- | TSA | 09/21/1994 | PW | Yes |
| PWB-2(usg) | -- | -- | SGA | 09/30/1994 | PW | No |
| PWB-4(d) | -- | -- | SGA | 05/30/1997 | PW | No |
| PWB-4(i) | -- | -- | TSA | 06/16/1997 | PW | No |
| PWB-4(s) | Zone A | -- | TSA | 06/06/1997 | PW | No |
| RPW-1(dg) | Zone A | 859 | TSA | 08/18/1993 | 09/14/2010 | No |
| RPW-1(ds) | -- | 858 | TSA | 08/08/1993 | 07/01/2018 | No |
| RPW-2 | Zone A | 860 | TSA | 04/04/1994 | 10/23/2008 | No |
| TW-14 | -- | 131 | SGA | 01/18/1978 | PW | No |
| TW-19 | -- | 157 | BLA | 04/29/1983 | PW | No |
| VMW-A | Zone C | -- | TSA | 11/21/2016 | -- | Yes |
| VMW-B | Zone C | -- | TSA | 11/23/2016 | -- | Yes |
| VMW-C | Zone C | -- | TSA | 11/30/2016 | -- | Yes |
| VMW-D | Zone C | -- | TSA | 12/05/2016 | -- | Yes |
| VMW-E | Zone C | -- | TSA | 02/23/2019 | -- | Yes |
| VMW-F | Zone C | -- | TSA | 02/20/2019 | -- | Yes |
| VMW-G | Zone C | -- | TSA | 02/26/2019 | -- | Yes |
| VMW-H | Zone C | -- | TSA | 02/28/2019 | -- | Yes |
| VW-17d-75.0 | Zone C | -- | TSA SS | 03/08/2012 | 10/01/2018 | No |
| VW-17d-95.5 | Zone C | -- | TSA | 03/23/2012 | -- | Yes |

Notes:

‐‐ Not applicable

NA = Data not available BLA = Blue Lake Aquifer CGL = conglomerate

CU 1 = Confining Unit 1

CU 2 = Confining Unit 2

PMX = Portland Monitoring Reference identification system developed by the East County Site project.

PW = Well owned by either private property owner and used as a domestic well or a well utilized by Portland Water Bureau (PWB) as part of the Columbia South Shore Wellfield.

SGA = Sand and Gravel Aquifer SS = Sandstone

TSA = Troutdale Sandstone Aquifer

Table 2

Remedy Well Network Criteria East Multnomah County TSA Remedy

This table summarizes TSA remedy criteria for extraction well pilot shutdown, well and system decommissioning, monitoring well network modifications, and changes in sampling frequency. These criteria were presented in Section 5 of the eighth TSA annual performance report1 and are summarized below for ongoing reference.

1. PILOT SHUTDOWN CRITERIA

The following criteria are for TSA extraction well(s) currently in pilot shutdown mode: - If TCE concentrations in these pilot shutdown wells increase to levels equal to or above the MCL for two consecutive quarters, extraction at individual wells shall resume. - If TCE remains below the MCL cleanup level for 2 years, DEQ will evaluate potential decommissioning of these wells.

2. MONITORING WELL NETWORK MODIFICATION

Wells may be removed from the monitoring program if a well meets one or more of the following criteria: - TCE concentrations have been consistently below detection limits for 2 or more years. - The well is located outside the limits of the plume and is no longer needed to monitor hydraulic plume control or restoration progress. - The location of a well duplicates another well better suited to evaluate hydraulic control and restoration progress.

3. SAMPLING FREQUENCY MODIFICATIONS

The following criteria serve to standardize current and future monitoring adjustments as restoration progresses over the coming years: Criteria for Increasing Sampling Frequency: - The sampling frequency will be increased at a well if TCE concentrations increase to detected levels for two consecutive sampling events where they have been below detection limits for 2 or more years. - The sampling frequency will be increased at a well if TCE concentrations increase above the MCL for two consecutive sampling events where they have been below the MCL for 2 or more years. Criteria for Reducing Sampling Frequency: - If TCE has been consistently below detection limits for the prior 2 years, the sampling frequency may be reduced. - If TCE has been stable to declining for the prior 2 years, the sampling frequency may be reduced.

4. CRITERIA FOR WELL DECOMMISSIONINGS

Extraction and monitoring well decommissionings will be proposed to DEQ if the following criteria are met: - Extraction well decommissioning may be proposed to DEQ if TCE concentrations remain consistently below the MCL in that well for 2 years following pilot shutdown; two consecutive TCE detections at or above the MCL may prompt resumed operation. - Monitoring well decommissioning will be proposed to DEQ if TCE concentrations remain below the MCL for 2 consecutive years.

1Landau Associates, Prowell Environmental, Pegasus Geoscience, 2006. Troutdale Sandstone Aquifer Remedial Action Annual Performance Evaluation, 04/01/05 through 03/31/06. 30 June 2006.

T2_TSA 2018 Tbl 2-1_Remedy_Well_Network_Criteria.xlsx	Page 1 of 1

### FIGURES

PMX-122

PMX-126	PMX-125

" 15

7 #14

COLUMBIA RIVER

#14

  - 19

    - 13

- 12

- 18

BLUE LAKE

#8

FAIRVIEW LAKE

##### Remedy Zone A

¨¦§84

##### Remedy Zone B

Remedy Zone C

Pky

Remedy Zone D

¨¦§84

G:\Projects\025\116\619\622\F01SiteMap.mxd 1/13/2020

!

!H

!H	H

Legend

  - PWB BLA Production Well

#  PWB SGA Production Well

" PWB TSA Production Well

!H Gresham/Rockwood Municipal Well

Boeing Portland Property Cascade Corporation Property Original EMC Site Study Area

0	1,200	2,400

Scale in Feet

Data Source: Esri World Imagery.

East Multnomah Site Gresham, Oregon

Note

1. Black and white reproduction of this color original may reduce its effectiveness and lead to incorrect interpretation.

Figure

Site Map	1

COLUMBIA RIVER

BLUE LAKE

FAIRVIEW LAKE

Pky

¨¦§84

¨¦§84

G:\Projects\025\116\619\622\F02PropertyMap.mxd 1/13/2020

Legend

Boeing Portland Property

Commercial

Generalized Zoning Classifications

Multi Family

Parks and Open Spaces

0	1,200	2,400

Note

1. Black and white reproduction of this color original may reduce its effectiveness and

Cascade Corporation Property Original EMC Site Study Area Taxlots

Future Urban Development Industrial

Mixed Use Residential Public Facilities

Rural

Single Family

Scale in Feet

Data Sources: Oregon Metro RLIS; Esri World Imagery.

East Multnomah Site Gresham, Oregon

lead to incorrect interpretation.

Figure

#### Property Zoning Map	2

COLUMBIA RIVER

# D-15(ds)

# PMX-168

")Ò PMX-138.18

")Ò PMX-141

# D-16(ds)

#EMC-1(ds)

#RPW-1(ds)

# PMX-167

BLUE LAKE

#D-18(ds)

PWB-1(uts) #

FAIRVIEW LAKE

" A-7(i)

BOP-70(ds) # # BOP-71(ds)

BOP-22(ds) #

BOP-43(ds) # # BOP-21(ds)

BOP-44(ds)#

# EW-9

BOP-20(ds)

##### Remedy Zone A

North Groundwater Treatment System (Decommissioned 2008) # DEQ-3(s)

# EMC-2(ds)

#MW-41(ds)

PWB-4(s) #

#

BOP-22R(ds)

BOP-67(ds) #

#	" A-5(d)

East Groundwater

A-3(s) "

A-6(ia) "

EW-22 # A-4(i)

##### Remedy Zone B

BOP-60R(ds)

# BOP-23(ds)

# BOP-14(s)

Treatment System (Decommissioned 2005)

# EW-10 (PMX-189)

A-2(d) #

BOP-60(ds) #"#	BOP-63(ds)

##### Remedy Zone C

EW-3	#

#BOP-61(ds)

West Groundwater

BOP-65(ds) #	#

# BOP-31(ds)

Treatment System

BOP-41(ds)#

"

A-1(d)

#

BOP-62(ds)

BOP-66(ds)

MW-17(ds)

##### Remedy Zone D

#MW-29(ds)

G:\Projects\025\116\619\622\F03TSAUpperWellLocations.mxd 1/13/2020

¨¦§84

#BOP-64(ds)

BOP-42(ds) #

VMW-A

D-17(ds) #VMW-H#

VW-17d-95.5 VW-17d-75.0

BOP-13(ds) #

VMW-C

##### VMW-G

#

VMW-B VMW-D

### MW-18(ds)

VMW-F

#MW-26(ds)

¨¦§

MW-20(ds) #

# DEQ-5(ds)

MW-19(ds)#

MW-3 #

#		VMW-E MW-10(ds)

DEQ-1(ds) #

# EW-21 (PMX-417)	84

EW-21 Groundwater Treatment System (Decommissioned 2007)

Legend

" Supply Wells

TSA Extraction Wells

# TSA Monitoring Wells

Aquifer Restoration Zones Treatment Systems

Original EMC Site Study Area

TSA TCE Plume 1998 TSA TCE Plume 2019

Unsaturated Areas

# #

T TCross Section Location

0	1,000	2,000

Da

Scale in Feet ta Source: Esri World Imagery.

Note

- Black and white reproduction of this color original may reduce its effectiveness and lead to incorrect interpretation.

)Ò ! "

#  TSA Monitoring Wells - Private

)Ò   Upper/Lower TSA Monitoring Wells - Private

# Decommissioned Wells

Boeing Portland Property Cascade Corporation Property

Approximate Location of Truncation

East Multnomah Site Gresham, Oregon

#### Upper TSA Well Locations

Figure

# 3

G:\Projects\025\116\619\622\F04TSALowerWellLocations.mxd 1/14/2020

| COLUMBIA RIVER # PMX-419 # D-15(dg) BLUE LAKE # PWB-2(Its) # EMC-1(dg) # PMX-165 # D-16(dg) # RPW-1(dg) # D-18(dg) PWB-1(Its) FAIRVIEW LAKE EW-17 ## Far North Groundwater Treatment System North Groundwater (Decommissioned 2007) Treatment System Remedy Zone A (Decommissioned 2008) # EMC-2(dg) BOP-44(dg) # #RPW-2 # BOP-43(dg) EW-19 # ## DEQ-3(i) EW-6 # DEQ-4(s) BOP-22(dg) # # BOP-21(dg) # BOP-20(dg) # EW-7 # BOP-23(dg) #MW-36(dg) Remedy Zone B # BOP-14(d) # MW-23(ds) # PMX-345 EW-23# EW-8 # Remedy Zone C BOP-60(dg) # # PMX-208(dg) BOP-61(dg) # MW-25(dg) MW-14(ds) West Groundwater Treatment System EW-13 # BOP-31(dg) # # #MW-14(dg) MW-14R(ds) # PMX-434 # EW-12 ## # # # MW-14R(dg) # PMX-196 # ¦¨§ BOP-41(dg) MW-16(dg)/EW-4 # MW-22(ds) Remedy Zone D MW-29(dg) 84 # MW-24(dg)/EW-5 EW-18 MW-22(dg) #EW-16 BOP-42(dg) EW-1 # # D-17(dg) # Central Groundwater # #EW-14 Treatment System # PMX-198 # MW-26(dg) BOP-13(dg) # EW-2 EW-15# # EW-11 MW-20(dg) # #MW-8(dg) # #MW-10(dg) ¨¦§ DEQ-5(dg) 84 # DEQ-1(dg) Legend # # 0 1,000 2,000 Note T T 1. Black and white reproduction of this color TSA Extraction Wells Aquifer Restoration Zones TSA TCE Plume 1998 Cross Section Location original may reduce its effectiveness and Scale in Feet lead to incorrect interpretation. TSA Extraction Wells - Private Treatment Systems TSA TCE Plume 2019 # TSA Monitoring Wells Original EMC Site Study Area Data Source: Esri World Imagery. |  |  |  |
| --- | --- | --- | --- |
| # TSA Monitoring Wells - Private Boeing Portland Property # Decommissioned Wells Cascade Corporation Property | East Multnomah Site Gresham, Oregon | Lower TSA Well Locations | Figure 4 |

PMX-135 X PMX-136

COLUMBIA RIVER

PMX-131X

X PMX-132

PW-19 ! TW-19

- PMX-133

  - PW-13

- PW-17

PW-11X

- PMX-147(a,b,c)

  - PW-18

- PW-12

  - PMX-170(a,b,c,d)

PMX-140 XX

PW-8

X PWB-2(usg)

X PMX-166

BLUE LAKE

XPMX-174

- PMX-175

X PMX-340

North Groundwater Treatment System (Decommissioned 2008)

BOP-44(usg)X

XBOP-68(usg)

XPWB-1(usg)

XEMC-2(usg)

EW-20XWXDEQ-3(usg)

XDEQ-4(d)

FAIRVIEW LAKE

XPMX-176

PWB-4(d) X

XBOP-69(usg)

XPMX-202

XMW-38(usg)

XPMX-192

¨¦§84

MW-14(usg) X

XPMX-409

XPMX-208

PMX-208R

XPMX-410(r)

XPMX-225

XPMX-194

XMW-37(usg) XPMX-195

¨¦§84

PMX-185 X

G:\Projects\025\116\619\622\F05SGAWellLocations.mxd 1/14/2020

Legend

  - Blue Lake Aquifer Wells

- SGA Extraction Wells

Treatment Systems

Original EMC Site Study Area

SGA Historical Plume (1997)

0	1,000	2,000

Scale in Feet

Note

  - Black and white reproduction of this color original may reduce its effectiveness and lead to incorrect interpretation.

- SGA Monitoring Wells

X SGA Monitoring Wells - Private

WX Decommissioned Wells

Boeing Portland Property Cascade Corporation Property

Data Source: Esri World Imagery.

East Multnomah Site	SGA and BLA Well Locations

Gresham, Oregon

Figure

# 5

TCE Concentration Notes

BOP-44(dg): TCE all ND at -RL ranging from 0.5 to 1.0 µg/L from 2006-2017

PWB-1(lts): TCE ranged from 1.1 to 1.8 µg/L between 2015 and 2018

Legend

A

Southwest

BOP-21(ds)

(Offset 12' NW)

100

Existing Surface Profile

BOP-44(usg)

(Offset 34' SE)

BOP-44(ds)

(Offset 10' NW)

BOP-44(dg)

(Offset 0')

PWB-1(usg)

PWB-1(uts)

(Offset 102' SE)

PWB-2(lts)

(Offset 7' NW)

PMX-167

(Offset 14' NW)

A'

Northeast

PWB-2(usg)

(Offset 14 SE)

100

BOP-21(ds)

Project Exploration Designation	50

(Offset 108' SE)	50

(Offset 12' W) Offset Distance in Feet and Direction

Soil Type Contact Well Screen Interval

0

Bottom of Exploration

TGA

SUD	FP

PWB-1(lts)

(Offset 113' SE)

0

SUA SUB SUC SUD

FP: Flood Plain Deposits: Silty, sandy GRAVEL TGA: Troutdale Gravel: Sandy, silty GRAVEL

SU1: Siltstone Unit 1 consisting of four distinct low permeable layers (SUA, SUB/CU1, SUC, & SUD) with the second layer being a blueish/gray Clayey Siltstone

TSA (Upper): Upper portion of the Troutdale Sandstone Unit: Sandstone

TSA (Lower): Lower portion of the Troutdale Sandstone Unit: Conglomerate

SU2: Siltsone Unit 2

SGA: Sand and Gravel Aqufer

-50

Elevation in ft (NAVD88)

-100

?

-150	?

TSA (upper)

TSA (lower)

SU2

PBW-1(uts)

PBW-1(lts)

PBW-1(usg)

PBW-2(lts)

Elevation in ft (NAVD88)

-50

-100

-150

Landau Associates | G:\Projects\025\116\619\622\F06CrossSection.dwg | 1/13/2020 2:46 PM

Notes

- Soil descriptions are generalized, based on interpretation of field and laboratory data. Stratigraphic contacts are interpolated between borings and based on topographic features; actual conditions may vary.

- See report text for descriptions of geologic units.

- For Cross Section location, see the Site and Exploration Plan, Figure _.

- Black and white reproduction of this color original may reduce its effectiveness and lead to incorrect interpretation.

-200

-250

?

SGA

1350 ft	1400 ft

Geologic Profile A-A'

Horizontal Scale in Feet: 1"=500' Vertical Scale in Feet: 1"=50'

0	500	1000

Scale in Feet

-200

-250

Source: DOGAMI Lidar, 2014

East Multnomah Site Gresham, Oregon

#### Geologic Cross Section A-A'

Figure

6

0	1,250	2,500

Scale in Feet

Data Source: Landau Associates, 1995.

East Multnomah Site Gresham, Oregon

#### Upper TSA Pre-Pumping Groundwater Flow Gradient

Figure

# 7

0	1,250	2,500

Scale in Feet

Data Source: Landau Associates, 1995.

East Multnomah Site Gresham, Oregon

#### Lower TSA Pre-Pumping Groundwater Flow Gradient

Figure

# 8

BOP-44ds* 9.80

BOP-22Rds 1.89

BOP-21ds 3.05

BOP-20ds 4.78

EW-3 0.91

BOP-65ds

BOP-61ds* 4.44

SantaBarbara-01\Data P:\GIS\PNG0564 - Cascade\Projects\2018\TSA 2018 Annual Report\Fig04-2a_Upper_TSA_Aquifer_GW_Elevations_2018-08.mxd (Author: SAntonelli) 20190425

BOP-62ds 0.24

5.21	BOP-66ds 7.40

BOP-31ds 9.84

BOP-42ds 8.94

BOP-13ds 9.10

CMW-20ds 15.14

CMW-17ds 21.68

18

CMW-18ds 6.17

CMW-19ds 16.15

CMW-10ds 14.35

600

300

0	600 Feet

Legend

Notes

Upper TSA Monitoring Well

Upper TSA Groundwater Elevation (ft. AMSL)

Inferred Upper TSA Groundwater Elevation (ft. AMSL)

Upper TSA Groundwater  Elevation   Depression  (ft. AMSL)

Unsaturated Area Structure

Boeing Property Boundary

Cascade Corporation Property Boundary

CMW-3 17.55

Upper TSA Aquifer Groundwater Levels August 2018

East Multnomah County

Figure

##### 9

BOP-65ds = Monitoring Well Location ID	* - Groundwater elevation gauged in July 2018.

5.21

= Groundwater Elevation (ft. AMSL)

PNG0564S

April 2019

D-16dg* 9.96

PWB-1lts* 11.63

BOP-44dg* 9.28

EMC-2dg* 8.12

BOP-20dg 4.74

BOP-23dg 6.82

CMW-36dg

11.23

SantaBarbara-01\Data P:\GIS\PNG0564 - Cascade\Projects\2018\TSA 2018 Annual Report\Fig04-2b_Lower_TSA_Aquifer_GW_Elevations_2018-08.mxd (Author: SAntonelli) 20190501

BOP-60dg 2.85

BOP-61dg 4.80

EW-13 8.46

-5	EW-23

-6.21

EW-8 10.18

BOP-31dg 9.44

EW-12 10.16

-5

CMW-25dg 11.47

D-17dg 10.22

CMW-24dg (EW-5) 13.56

CMW-14Rds 23.14

CMW-22dg 16.46

EW-16 18.36

Legend

Lower TSA Monitoring Well Extraction Well

Lower TSA Groundwater Elevation  (ft. AMSL) Inferred Lower TSA Groundwater Elevation (ft. AMSL)

BOP-42dg

7.38

EW-1

-32.77

BOP-13dg 7.71

-10

-15

-20

-25

-20

-15

CMW-8dg 9.00

D-17ds

22.37

EW-14

-25.17

-25

EW-2

-29.30

CMW-10dg 9.70

EW-15+ 63.48

EW-11+ 59.55

CMW-26dg 14.57

600

300

0	600 Feet

Notes

Lower TSA Groundwater Elevation Depression (ft. AMSL) Structure

Boeing Property Boundary

Cascade Corporation Property Boundary

CMW-3 17.55

Lower TSA Aquifer Groundwater Levels August 2018

East Multnomah County

Figure

BOP-31dg = Monitoring Well Location ID

9.44	= Groundwater Elevation (ft. AMSL)

* - Groundwater elevation gauged in July 2018.

+ - Groundwater elevation excluded from contouring.

PNG0564S

##### 10

May 2019

APPENDIX A

Administrative Record Index

##### Appendix A Administrative Record Index

Emcon, 1997. Construction Report for Central Treatment System, Phase 1 TSA Remedial Action.

8.15.97.

Emcon and Landau Associates, 1995. Remedial Investigation and Feasibility Study, Troutdale Sandstone Aquifer, Part 1: Remedial Investigation (final report); Part 2: Endangerment Assessment. 6 October 1995.

Geosyntec, Landau, SSPA, 2019. Annual Performance Report 1 January 2018 – 31 December 2018; Five Year Remedy Performance Evaluation, East Multnomah County, Troutdale Sandstone Aquifer Remedy, ECSI 1479. 31 May 2019.

Landau Associates, 1995. Report, Phase III RCRA Facility Investigation, Boeing Portland, Gresham, Oregon. Prepared for the Boeing Company. July 31.

Landau Associates, 1999. Troutdale Sandstone Aquifer Remedial Action Annual Performance Evaluation for April 1, 1998 – March 31, 1999. 30 June 1999.

Landau Associates, 2015. Technical Memorandum: 2015 Monitoring and Contingency Plan for PWB Pumping Events. 21 July 2015.

Landau Associates, 2019. 2019 Draft Monitoring and Contingency Plan for PWB Pumping Events, East Multnomah County Troutdale Sandstone Aquifer Remedy, Gresham, Oregon, ECSI # 1479. 12 July 2019.

Landau Associates and Emcon, 1996. Troutdale Sandstone Aquifer Feasibility Study. 4 March 1996.

Landau Associates and Prowell Environmental, 1999. Institutional Controls Plan, Troutdale Sandstone Aquifer. 21 September 1999.

Landau Associates, Prowell Environmental, Pegasus Geoscience, 2006. Troutdale Sandstone Aquifer Remedial Action Annual Performance Evaluation, 04/01/05 through 03/31/06. 30 June 2006.

Oregon Department of Environmental Quality (DEQ), 1996. DEQ Remedial Action Record of Decision for the East Multnomah County Groundwater Contamination Site, Troutdale Sandstone Aquifer. Oregon Department of Environmental Quality, Waste Management & Cleanup Division. 31 December.

Oregon Department of Environmental Quality. 1997. DEQ Order on Consent No. WMCSR‐NWR‐ 96‐08 In the Matter of The Boeing Company and Cascade Corporation. Oregon Department of Environmental Quality. 14 February.

Oregon Department of Environmental Quality, 2005. Letter to J. Cushing, Cascade Corporation, Portland, OR re: East Multnomah County ‐ Troutdale Sandstone Aquifer Remedial Action, DEQ Order on Consent No. WMCSR‐NWR‐96‐08, Request for Authorization to Decommission

TSA East Treatment System. From B. Gilles, Oregon Department of Environmental Quality, Portland, OR. March 22.

Oregon Department of Environmental Quality 2005. Record of Decision Remedial Action Approach for Columbia Slough Sediment. Oregon Department of Environmental Quality, Environmental Cleanup Program.

Oregon Department of Environmental Quality, 2006. Email to S. Prowell, Prowell Environmental;

C. Kimmel, Landau Associates; K. Chaput, The Boeing Company; J. Cushing, Cascade Corporation. Re: Pilot Shutdown for EW‐7, EW‐9, EW‐19, and EW‐20. June 5.

Oregon Department of Environmental Quality, 2015. Order on Consent, DEQ No. WMCSR‐NWR‐ 96‐09, Certification of Completion. 21 January 2015.

Oregon Department of Environmental Quality, 2018a. Email from K. Thiessen RE: EMC TSA Remedy: Annual Performance Report 2017 [Partial approval of 2017 Annual Report]; 2 August 2018.

Oregon Department of Environmental Quality, 2018b. Email from K. Thiessen RE: Meeting with PWB today [DEQ support for NFA Closure for Zone A and SGA]. October 11.

S.S. Papadopulos & Associates, Inc. (SSPA), 1996a. Additional Remedial Options/or the TSA. Memorandum prepared for the Oregon Department of Environmental Quality. S.S. Papadopulos & Associates, Inc. 12 June 1996.

S.S. Papadopulos & Associates, Inc., 1996b. TCE Contamination in the TSA‐Areal Extent and Mass. Memorandum prepared for B. Gilles, Oregon Department of Environmental Quality 18 July 1996.

Swanson, R.D., McFarland, W.D., Gonthier, J.B., and Wilkinson, J.M., 1993, A description of hydrogeologic units in the Portland basin, Oregon and Washington; U.S. Geological Survey Water Resources Investigations Report 90‐4196, 64 p.

### APPENDIX B

EMC TSA Remedy Timeline

| Action | Date |
| --- | --- |
| Corrective Measures Element |  |
| Entered into Order on Consent with DEQ for TSA Removal Action to control northerly plume migration (DEQ No. ECSR-NWR-93-07) | 1993 |
| Installed RPW-1 and RPW-2 and began extracting RPW-2 and treating effluent | 1994 |
| Completed TSA RI/FS |  |
| Entered into Addendum to Order on Consent to complete TSA RI/FS | 1994 |
| Entered into Second Addendum to Order on Consent for NPDES discharge permit | 1996 |
| Performed and completed TSA RI/FS, including well installations, aquifer testing, model construction, evaluations, design planning, and reporting | 1994 - 1996 |
| DEQ issued TSA Remedy Record of Decision | 1996 |
| Enter into Order on Consent with DEQ for design and implementation of remedial measures (DEQ No. WMCSR-NWR-96-08) | 1997 |
| Implemented TSA Remedy |  |
| Installed SGA monitoring wells to characterize water quality; decommissioned selected private SGA wells for migration pathway protection; provided replacement water supply to residences | 1996-1997 |
| Performed phased remedy implementation including: construction of monitoring and extraction wells (EW- 1, EW-2, EW-3), convert monitoring wells MW-16 and MW-24 to extraction wells EW-4 and EW-5, install conveyance and treatment systems, and performance/protection evaluations | 1996-1998 |
| Began phased startup of remedy extraction/treatment systems, installation of extraction wells EW-6, EW- 7, EW-8, EW-9, EW-10, EW-11, EW-12, EW-13, EW-14, EW-15, EW-16, EW-17, EW-18, EW-19, and EW-20 | 1996-1998 |
| Entered into Order on Consent with DEQ for remedy implementation and effluent discharge | 1997 |

| Action | Date |
| --- | --- |
| Began full scale remedy implementation of GWTS (West), Central, East, North, and Far North Systems | 1998 |
| Began operating EW-21 Treatment System for TSA Sandstone plume capture near MW-26(ds) | 2000 |
| Amended TSA RD/RA work plan and documented transfer of TSA remedy responsibilities from Boeing to Cascade | 2001 |
| Began operating EW-22 for TSA Sandstone plume capture near BOP-22(ds) | 2003 |
| Began operating EW-23 from Lower TSA | 2007 |
| Began Remedy Modifications, Due to Restoration Progress |  |
| Decommission East Treatment System | 2005 |
| Decommission Far North System | 2007 |
| Decommission North Treatment System | 2008 |
| Adopt diffusion bag samplers methods for groundwater sampling, pilot shutdown of EW-7, EW-9, EW-19, and EW-20; and installation of TSA Sandstone well EW-23 | 2006 |
| Decommission BOP-22(ds) and install replacement well BOP-22R(ds), install BOP-70(ds) and BOP- 71(ds) | 2008-2009 |
| Shutdown EW-22 | 2008 |
| Pilot Shutdown EW-3 and EW-13 | 2009 |
| Cessation of TSA treatment at Groundwater Treatment System (GWTS - West) | 2009 |
| Install replacement well BOP-60R(ds) and decommission BOP-60(ds) | 2010 |
| Decommission EW-22 | 2010 |
| Cascade Corporation receives NFA for TGA | 2015 |
| Begin SVE operation in TSA Mound Area | 2015 |

APPENDIX C

TCE profiles ‐ Select Zone A and SGA wells

1/14/20 P:\025\116\WIP\T\EQuIS\Exports\TSA\C-10 Zone A TCE Profiles.docx

East Multnomah County

#### Zone A Select TSA Well- TCE Profiles

Figure

C-1

1/14/20 P:\025\116\WIP\T\EQuIS\Exports\TSA\C-11 TCE Profiles for SGA Wells.docx

East Multnomah County

#### TCE Profiles for Select SGA Wells

Figure

## C-2