Santosh Landfill

Leachate seep sampling, Wednesday, April 6, 2016

We inspected south side of landfill. No seeps were visible. There were two areas

Sample 1 (0406-LS-1 and 0406-LS-1D: west side of landfill, by wetland. Collected a duplicate sample there. Sample 1 was collected 11:45 am. Sample 1D (duplicate) ws collected at 12:05 pm.

Location: Latitude 45.793118, Longitude: -122.849321

Sample 2 (0406-LS-2): south side of landfill, where orange precipitate was found. No leachate visible. Dug a hole approximately 10 inches deep, which filled with sufficient water to collect samples.

Sample collected: 12:34 pm

Location: Latitude 45.791944, Longitude -122.848543