## Gasco MW-6-32 thru MW-13-30
TABLE 1b -Summary of Water Level Measurements: Gasco Property - Manual Water Level Measurment Program
Elevation of Top of Casing (feet COP*)
Date | MW-6-32 | MW-9-29 | MW-10-25 | MW-12-36 | MW-13-30
1991-12-06 | 35.51 | 37.65 | 39.22 | 38.69 | -
1996-01-14
1997-02-19 | - | - | - | - | 34.86
2000-08-29 | - | - | - | - | -
2001-08-29 | - | - | - | - | -
2003-03-27 | - | - | - | - | -
2003-08-07 | - | - | - | - | -
2006-03-14 | - | - | - | - | -
2006-07-28 | - | - | - | - | -
Measured Water Level (feet btc)
Date | MW-6-32 | MW-9-29 | MW-10-25 | MW-12-36 | MW-13-30
1991-12-04 | 16.71 | 14.98 | 9.37 |  | -
1992-01-04 | 14.84 | 15.2 | 10.82 |  | -
1992-02-11 | 9.55 | 11.11 | 5.27 |  | -
1992-03-17 | 12.1 | 11.95 | 9.01 |  | -
1992-04-15 | 13.42 | 12.63 | 9.69 |  | -
1992-05-09 | 13.3 | 12.98 | 10.24 |  | -
1992-06-16 | 13.4 | 13.51 | 9.98 |  | -
1992-07-15 | 14.6 | 15.9 | 12.43 |  | -
1992-08-20 | 16.17 | 16.58 | 14.53 |  | -
1992-09-16 | 16.94 | 16.8 | 14.86 |  | -
1992-09-29 | 17.08 | 16.89 | 14.97 |  | -
1992-11-14 | 17 | 16.42 | 13.85 |  | -
1993-02-23 | 12.83 | 14.85 | 9.71 |  | -
1993-06-09 | 13.81 | 16.01 | 8.49 |  | -
1993-08-25 | 18.53 | 17.1 | 14.13 |  | -
1993-11-24 | 16.29 | 16.36 | 11.79 |  | -
1993-12-18 | - | - | - |  | 23.71
1994-02-15 | 14.29 | 15.6 | 9.72 | 14.73 | 23.98
1994-05-31 | 15.75 | 14.63 | 9.83 | 15.69 | 17.11
1994-08-24 | 17.73 | 14.32 | 14.97 | 17.56 | 28.22
1994-11-15 | 18.23 | 14.3 | 14.92 | 17.78 | 28.11
1995-02-14 | 12.35 | 12.41 | 9.51 | 13.04 | 23.62
1995-05-10 | 13.41 | 15.82 | 11.11 | 14.03 | 22.91
1995-08-19 | 19.8 | 15 | 14.4 | 17.18 | 26.81
1995-10-24 | 19 | 16.4 | 16.51 | 18.52 | 28.63
1996-03-26 | 14.05 | 17.7 | 11.65 | 14.45 | 26.71
1996-06-14 | 16.05 | 14.74 | 13.11 | 15.82 | 24.1
1996-10-03 | - | 13.67 | 14.09 | 16.85 | 17.32
1996-12-19 | - | 12.22 | 13.02 | 15.17 | 16.7
1997-03-26 | - | 11.91 | 13.74 | 14.96 | 16.81
1997-06-27 | - | 13.31 | 17.27 | 16.06 | 18.06
1997-10-07 | - | 15.5 | 18.28 | 18.45 | 19.41
1997-12-11 | - | 9.71 | 16.5 | 13.67 | 17.89
1998-04-01 | - | 7.99 | 16.77 | 12.48 | 15.35
1998-07-09 | - | 11.61 | 16.2 | 13.98 | 17.09
1998-09-28 | - | 14.27 | - | 17.42 | 18.63
1998-12-16 | - | 12.93 | 16.2 | 16.05 | 19.02
1999-03-16 | - | 6.87 | 16.4 | 17.47 | 15.92
1999-06-01 | - | 9.45 | 16.6 | 12.22 | 15.71
1999-09-28 | - | 14.66 | 16.1 | 17.62 | 18.58
1999-12-28 | - | 8.38 | 16.5 | 12.6 | 17.72
2000-03-28 | - | 9.1 | - | 12.76 | 15.93
2000-08-10 | - | 13.9 | 16.5 | 16.72 | 18.4
2000-12-19 | - | 9.55 | 17.23 | 14.31 | 18.42
2001-03-27 | - | 8.02 | 17.15 | 13.48 | 17.92
2001-06-19 | - | 9.42 | 16.92 | 13.68 | 17.79
2001-09-15 | - | 13.04 | 17.63 | 17 | 18.47
2001-12-06 | - | 8.44 | 16.07 | 13.68 | 17.44
2002-03-26 | - | 7.49 | 15.05 | 11.6 | 15.4
2002-06-18 | - | 9.82 | 9.8 | 11.75 | 16.45
2002-10-10 | - | 14.39 | 16.8 | 17.28 | 19.6
2003-03-20 | - | 6.64 | 14.11 | 10.34 | 15.57
2003-05-06 | - | 8.16 | 15.48 | 11.93 | 16.15
2003-06-20 | - | 10.33 | 16.11 | 13.55 | -
2003-09-05 | - | 13.01 | 17.08 | 16.34 | 18.46
2004-04-16 | - | 8.05 | 15.31 | 12.05 | 15.85
2004-09-08 | - | 13.22 | 16.94 | 15.85 | -
2004-12-03 | - | 11.62 | 16.6 | 15.1 | -
2005-03-24 | - | 8.78 | 15.94 | 12.95 | -
2005-06-02 | - | 9.31 | 15.9 | 11.91 | -
2005-08-04 | - | 12.49 | 16.92 | 15.35 | -
2005-12-03 | - | 10.5 | 16.1 | 14.25 | -
2006-02-11 | - | 7.96 | 15.1 | 12.15 | -
2006-05-17 | - | 9.58 | 15.52 | 12.75 | -
2006-09-26 | - | 12.36 | 16.56 | 15.55 | -
2006-11-14 | - | 9.55 | 15.6 | 13.47 | -
2007-03-16 | - | 5.05 | 13.9 | 8.71 | -
2007-06-14 | - | 7.76 | 15.25 | 9.21 | -
2007-09-15 | - | 12.39 | 16.62 | 14.92 | -
2007-12-15 | - | 10.49 | 16.14 | 14.11 | -
2008-03-18 | - | 5.45 | 14.32 | 9.15 | -
2008-06-17 | - | 7.9 | 15.02 | 10.4 | -
2008-09-16 | - | 12.38 | 16.49 | 14.92 | -
2008-11-27 | - | 6.46 | 14.78 | 11.06 | -
2009-03-05 | - | 8.58 | 15.5 | 12.15 | -
2009-06-24 | - | 9.52 | 15.81 | 12.29 | -
2009-08-29 | - | 12.21 | 16.72 | 14.91 | -
2009-12-03 | - | 9.8 | 16.31 | 13.26 | -
2010-03-10 | - | 5.55 | 14.95 | 9.45 | -
2010-09-30 | - | 13.05 | 16.7 | 16
2010-12-29 | - | 7.11 | 15.29 | 11.48 | -
2011-03-12 | - | 8.86 | 15.44 | 12.39 | -
2011-06-29 | - | 8.75 | 16.6 | 14.65 | -
2011-09-20 | - | 13.52 | 17.35 | 17.04 | -
2011-12-09 | - | 4 | 14.64 | 10.86 | -
2012-03-13 | - | 5.05 | 14.7 | 8.9 | -
2012-06-05 | - | 10.28 | 16.261 | 12.65 | -
2012-09-26 | - | 13.2 | 18.32 | 16.44 | -
2012-12-05 | - | 6.6 | 15.57 | 11.19 | -
2013-03-08 | - | 5.45 | 14.091 | 8.983 | -
2013-06-29 | - | 9.93 | 15.89 | 11.532 | -
2013-09-07 | - | 12.82 | 17.31 | 15.139 | -
Groundwater Elevation (feet COP*)
Date | MW-6-32 | MW-9-29 | MW-10-25 | MW-12-36 | MW-13-30 | Sump #14 | Sump #11
1991-12-04 | 18.8 | 22.67 | 24.24 | 29.32 | - | 23.93 | 19.55
1992-01-04 | 20.67 | 22.45 | 24.02 | 27.87 | - | 23.93 | 19.55
1992-02-11 | 25.96 | 26.54 | 28.11 | 33.42 | - | 23.93 | 19.55
1992-03-17 | 23.41 | 25.7 | 27.27 | 29.68 | - | 23.93 | 19.55
1992-04-15 | 22.09 | 25.02 | 26.59 | 29 | - | 23.93 | 19.55
1992-05-09 | 22.21 | 24.67 | 26.24 | 28.45 | - | 23.93 | 19.55
1992-06-16 | 22.11 | 24.14 | 25.71 | 28.71 | - | 23.93 | 19.55
1992-07-15 | 20.91 | 21.75 | 23.32 | 26.26 | - | 23.93 | 19.55
1992-08-20 | 19.34 | 21.07 | 22.64 | 24.16 | - | 23.93 | 19.55
1992-09-16 | 18.57 | 20.85 | 22.42 | 23.83 | - | 23.93 | 19.55
1992-09-29 | 18.43 | 20.76 | 22.33 | 23.72 | - | 23.93 | 19.55
1992-11-14 | 18.51 | 21.23 | 22.8 | 24.84 | - | 23.93 | 19.55
1993-02-23 | 22.68 | 22.8 | 24.37 | 28.98 | - | 23.93 | 19.55
1993-06-09 | 21.7 | 21.64 | 23.21 | 30.2 | - | 23.93 | 19.55
1993-08-25 | 16.98 | 20.55 | 22.12 | 24.56 | - | 23.93 | 19.55
1993-11-24 | 19.22 | 21.29 | 22.86 | 26.9 | - | 23.93 | 19.55
1993-12-18 | [5 empty] | 23.93 | 19.55
1994-02-15 | 21.22 | 22.05 | 23.62 | 28.97 | 20.13 | 23.93 | 19.55
1994-05-31 | 19.76 | 23.02 | 24.59 | 28.86 | 19.17 | 23.93 | 19.55
1994-08-24 | 17.78 | 23.33 | 24.9 | 23.72 | 17.3 | 23.93 | 19.55
1994-11-15 | 17.28 | 23.35 | 24.92 | 23.77 | 17.08 | 23.93 | 19.55
1995-02-14 | 23.16 | 25.24 | 26.81 | 29.18 | 21.82 | 23.93 | 19.55
1995-05-10 | 22.1 | 21.83 | 23.4 | 27.58 | 20.83 | 23.93 | 19.55
1995-08-19 | 15.71 | 22.65 | 24.22 | 24.29 | 17.68 | 23.93 | 19.55
1995-10-24 | 16.51 | 21.25 | 22.82 | 22.18 | 16.34 | 23.93 | 19.55
1996-03-26 | 21.46 | 19.95 | 21.52 | 27.04 | 20.41 | 23.93 | 19.55
1996-06-14 | 19.46 | 22.91 | 24.48 | 25.58 | 19.04 | 23.93 | 19.55
1996-10-03 | - | 23.98 | 25.13 | 21.84 | 17.54 | 23.93 | 19.55
1996-12-19 | - | 25.43 | 26.2 | 23.52 | 18.16 | 23.93 | 19.55
1997-03-26 | - | 25.74 | 25.48 | 23.73 | 18.05 | 23.93 | 19.55
1997-06-27 | - | 24.34 | 21.95 | 22.63 | 16.8 | 23.93 | 19.55
1997-10-07 | - | 22.15 | 20.94 | 20.24 | 15.45 | 23.93 | 19.55
1997-12-11 | - | 27.94 | 22.72 | 25.02 | 16.97 | 23.93 | 19.55
1998-04-01 | - | 29.66 | 22.45 | 26.21 | 19.51 | 23.93 | 19.55
1998-07-09 | - | 26.04 | 23.02 | 24.71 | 17.77 | 23.93 | 19.55
1998-09-22 | - | 23.38 |  | 21.27 | 16.23 | 23.93 | 19.55
1998-12-16 | - | 24.72 | 23.02 | 22.64 | 15.84 | 23.93 | 19.55
1999-03-16 | - | 30.78 | 22.82 | 21.22 | 18.94 | 23.93 | 19.55
1999-06-01 | - | 28.2 | 22.62 | 26.47 | 19.15 | 23.93 | 19.55
1999-09-28 | - | 22.99 | 23.12 | 21.07 | 16.28 | 23.93 | 19.55
1999-12-28 | - | 29.27 | 22.72 | 26.09 | 17.14 | 23.93 | 19.55
2000-03-28 | - | 28.55 |  | 25.93 | 18.93 | 23.93 | 19.55
2000-08-10 | - | 23.75 | 22.72 | 21.97 | 16.46 | 23.93 | 19.55
2000-12-19 | - | 28.1 | 21.99 | 24.38 | 16.44 | 23.93 | 19.55
2001-03-27 | - | 29.63 | 22.07 | 25.21 | 16.94 | 23.93 | 19.55
2001-06-19 | - | 28.23 | 22.3 | 25.01 | 17.07 | 23.93 | 19.55
2001-09-15 | - | 24.61 | 21.59 | 21.69 | 16.39 | 23.93 | 19.55
2001-12-06 | - | 29.21 | 23.15 | 25.01 | 17.42 | 23.93 | 19.55
2002-03-26 | - | 30.16 | 24.17 | 27.09 | 19.46 | 23.93 | 19.55
2002-06-18 | - | 27.83 | 29.42 | 26.94 | 18.41 | 23.93 | 19.55 | Surface water visible in northern tank farm-May 2002 photo
2002-10-10 | - | 23.26 | 22.42 | 21.41 | 15.26 | 23.93 | 19.55
2003-03-20 | - | 31.01 | 25.11 | 28.35 | 19.29 | 23.93 | 19.55
2003-05-06 | - | 29.49 | 23.74 | 26.76 | 18.71 | 23.93 | 19.55
2003-06-20 | - | 27.32 | 23.11 | 25.14 |  | 23.93 | 19.55
2003-09-05 | - | 24.64 | 22.14 | 22.35 | 16.4 | 23.93 | 19.55
2004-04-16 | - | 29.6 | 23.91 | 26.64 | 19.01 | 23.93 | 19.55
2004-09-08 | - | 24.43 | 22.28 | 22.84 | - | 23.93 | 19.55
2004-12-03 | - | 26.03 | 22.62 | 23.59 | - | 23.93 | 19.55
2005-03-24 | - | 28.87 | 23.28 | 25.74 | - | 23.93 | 19.55
2005-06-02 | - | 28.34 | 23.32 | 26.78 | - | 23.93 | 19.55
2005-08-04 | - | 25.16 | 22.3 | 23.34 | - | 23.93 | 19.55
2005-12-03 | - | 27.15 | 23.12 | 24.44 | - | 23.93 | 19.55
2006-02-11 | - | 29.69 | 24.12 | 26.54 | - | 23.93 | 19.55
2006-05-17 | - | 28.07 | 23.7 | 25.94 | - | 23.93 | 19.55
2006-09-26 | - | 25.29 | 22.66 | 23.14 | - | 23.93 | 19.55
2006-11-14 | - | 28.1 | 23.62 | 25.22 | - | 23.93 | 19.55
2007-03-16 | - | 32.6 | 25.32 | 29.98 | - | 23.93 | 19.55
2007-06-14 | - | 29.89 | 23.97 | 29.48 | - | 23.93 | 19.55
2007-09-15 | - | 25.26 | 22.6 | 23.77 | - | 23.93 | 19.55
2007-12-15 | - | 27.16 | 23.08 | 24.58 | - | 23.93 | 19.55
2008-03-18 | - | 32.2 | 24.9 | 29.54 | - | 23.93 | 19.55
2008-06-17 | - | 29.75 | 24.2 | 28.29 | - | 23.93 | 19.55 | Potential surface water in middle of tank farm-July 2008 photo
2008-09-16 | - | 25.27 | 22.73 | 23.77 | - | 23.93 | 19.55
2008-11-27 | - | 31.19 | 24.44 | 27.63 | - | 23.93 | 19.55
2009-03-05 | - | 29.07 | 23.72 | 26.54 | - | 23.93 | 19.55
2009-06-24 | - | 28.13 | 23.41 | 26.4 | - | 23.93 | 19.55
2009-08-29 | - | 25.44 | 22.5 | 23.78 | - | 23.93 | 19.55
2009-12-03 | - | 27.85 | 22.91 | 25.43 | - | 23.93 | 19.55
2010-03-10 | - | 32.1 | 24.27 | 29.24 | - | 23.93 | 19.55
2010-09-30 | - | 24.6 | 22.52 | 22.69 | - | 23.93 | 19.55 | Surface water visible in northern tank farm-August 2010 photo
2010-12-29 | - | 30.54 | 23.93 | 27.21 | - | 23.93 | 19.55
2011-03-12 | - | 28.79 | 23.78 | 26.3 | - | 23.93 | 19.55
2011-06-29 | - | 28.9 | 22.62 | 24.04 | - | 23.93 | 19.55
2011-09-20 | - | 24.13 | 21.87 | 21.65 | - | 23.93 | 19.55
2011-12-09 | - | 33.65 | 24.58 | 27.83 | - | 23.93 | 19.55
2012-03-13 | - | 32.6 | 24.52 | 29.79 | - | 23.93 | 19.55
2012-06-05 | - | 27.37 | 22.959 | 26.04 | - | 23.93 | 19.55
2012-09-26 | - | 24.45 | 20.9 | 22.25 | - | 23.93 | 19.55
2012-12-05 | - | 31.05 | 23.65 | 27.5 | - | 23.93 | 19.55
2013-03-08 | - | 32.2 | 25.129 | 29.707 | - | 23.93 | 19.55
2013-06-29 | - | 27.72 | 23.33 | 27.158 | - | 23.93 | 19.55
2013-09-07 | - | 24.83 | 21.91 | 23.551 | - | 23.93 | 19.55
Blue font = groundwater elevation data collected from an Anchor QEA installed transducer. For transducer readings, the depth below top of casing (btc) value was calculated by subtracting the groundwater elevation from the TOC elevation.
btc = below top of casing
* = City of Portland Datum
1 Well casing raised in January 2000. Pre-2000 top of casing elevations are: MW-15-50 (35.15 feet); MW-15-66 (35.36 feet)
Sump #11 and #14 remaining sumps operating in the lower Tank Farm. Bottom elevations shown. Status and elevations taken from Koppers "Facility Detail Plan" (June 2007) plans & information.
Surface water present in eastern half of tank basin-May 2017 photo. Corresponds to high water levels in LNG Basin.